## Sheet1
| Rack:Tube | Solution Label | B 208.956 nm ppm | B 249.678 nm ppm | B 249.772 nm ppm | Ba 230.424 nm ppm | Ba 230.424 nm ppm | Ba 455.403 nm ppm | Ba 455.403 nm ppm | Be 313.042 nm Ratio | Ca 315.887 nm ppm | Ca 315.887 nm ppm | Ca 317.933 nm ppm | Ca 317.933 nm ppm | Ca 318.127 nm ppm | Ca 318.127 nm ppm | Ca 431.865 nm ppm | Ca 431.865 nm ppm | Fe 238.204 nm ppm | Fe 238.204 nm ppm | Fe 239.563 nm ppm | Fe 239.563 nm ppm | Fe 259.940 nm ppm | Fe 259.940 nm ppm | In 230.606 nm Ratio | In 325.609 nm Ratio | K 766.491 nm ppm | K 766.491 nm ppm | K 769.897 nm ppm | K 769.897 nm ppm | Li 670.783 nm ppm | Li 670.783 nm ppm | Mg 202.582 nm ppm | Mg 277.983 nm ppm | Mg 278.142 nm ppm | Mg 279.078 nm ppm | Mg 279.553 nm ppm | Mg 279.553 nm ppm | Mg 280.270 nm ppm | Mg 280.270 nm ppm | Mn 257.610 nm ppm | Mn 257.610 nm ppm | Mn 259.372 nm ppm | Mn 259.372 nm ppm | Na 330.298 nm ppm | Na 330.298 nm ppm | Na 589.592 nm ppm | Na 589.592 nm ppm | P 177.434 nm ppm | P 213.618 nm ppm | S 178.165 nm ppm | S 178.165 nm ppm | S 182.562 nm ppm | S 182.562 nm ppm | Sb 206.834 nm Ratio | Sc 361.383 nm Ratio | Sc 424.682 nm Ratio | Si 221.667 nm ppm | Si 251.611 nm ppm | Si 288.158 nm ppm | Sr 407.771 nm ppm | Sr 407.771 nm ppm | Sr 421.552 nm ppm | Sr 421.552 nm ppm | Sr 460.733 nm ppm | Sr 460.733 nm ppm
FALSE | 1:01 | Acid Blank | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FALSE | 1:02 | STD 0% | [7 empty] | 0.86 | [14 empty] | 0.86 | 1.05 | [18 empty] | 1331 | 1331 | 1331 | 1331 | [6 empty] | 0.9 | 0.86 | 0.92
FALSE | 1:03 | STD 1% | 0.03 | 0.03 | 0.03 | 0.05 | 0.05 | 0.05 | 0.05 | 0.88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.87 | 1.06 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.01 | 0.01 | 0.01 | 0.01 | 1326 | 1326 | 1326 | 1326 | 0.01 | 0.01 |  |  |  |  | 0.9 | 0.87 | 0.93 | 0.03 | 0.03 | 0.03 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05
FALSE | 1:04 | STD 5% | 0.15 | 0.15 | 0.15 | 0.25 | 0.25 | 0.25 | 0.25 | 0.88 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.88 | 1.06 | 2 | 2 | 2 | 2 | 0.03 | 0.03 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 0.03 | 0.03 | 0.03 | 0.03 | 1306 | 1306 | 1306 | 1306 | 0.03 | 0.03 |  |  |  |  | 0.91 | 0.87 | 0.93 | 0.13 | 0.13 | 0.13 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25
FALSE | 1:05 | STD 10% | 0.3 | 0.3 | 0.3 | 0.5 | 0.5 | 0.5 | 0.5 | 0.89 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.86 | 1.07 | 4 | 4 | 4 | 4 | 0.05 | 0.05 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 0.05 | 0.05 | 0.05 | 0.05 | 1280 | 1280 | 1280 | 1280 | 0.05 | 0.05 |  |  |  |  | 0.91 | 0.87 | 0.94 | 0.25 | 0.25 | 0.25 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
FALSE | 1:06 | STD 25% | 0.75 | 0.75 | 0.75 | 1.25 | 1.25 | 1.25 | 1.25 | 0.9 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0.13 | 0.13 | 0.13 | 0.13 | 0.13 | 0.13 | 0.88 | 1.09 | 10 | 10 | 10 | 10 | 0.13 | 0.13 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 0.13 | 0.13 | 0.13 | 0.13 | 1204 | 1204 | 1204 | 1204 | 0.13 | 0.13 |  |  |  |  | 0.92 | 0.88 | 0.94 | 0.63 | 0.63 | 0.63 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25
FALSE | 1:07 | STD 50% | 1.5 | 1.5 | 1.5 | 2.5 | 2.5 | 2.5 | 2.5 | 0.89 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.86 | 1.08 | 20 | 20 | 20 | 20 | 0.25 | 0.25 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 0.25 | 0.25 | 0.25 | 0.25 | 1078 | 1078 | 1078 | 1078 | 0.25 | 0.25 |  |  |  |  | 0.91 | 0.88 | 0.94 | 1.25 | 1.25 | 1.25 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
FALSE | 1:08 | STD 75% | 2.25 | 2.25 | 2.25 | 3.75 | 3.75 | 3.75 | 3.75 | 0.89 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.86 | 1.07 | 30 | 30 | 30 | 30 | 0.38 | 0.38 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 0.38 | 0.38 | 0.38 | 0.38 | 951 | 951 | 951 | 951 | 0.38 | 0.38 |  |  |  |  | 0.91 | 0.87 | 0.94 | 1.88 | 1.88 | 1.88 | 3.75 | 3.75 | 3.75 | 3.75 | 3.75 | 3.75
FALSE | 1:09 | STD 100% | 3 | 3 | 3 | 5 | 5 | 5 | 5 | 0.9 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.87 | 1.09 | 40 | 40 | 40 | 40 | 0.5 | 0.5 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 0.5 | 0.5 | 0.5 | 0.5 | 825 | 825 | 825 | 825 | 0.5 | 0.5 |  |  |  |  | 0.92 | 0.89 | 0.95 | 2.5 | 2.5 | 2.5 | 5 | 5 | 5 | 5 | 5 | 5
FALSE | 1:10 | STD 200% | 6 | 6 | 6 | 10 | 10 | 10 | 10 | 0.85 | 81 | 81 | 81 | 81 | 81 | 81 | 81 | 81 | 1 | 1 | 1 | 1 | 1 | 1 | 0.81 | 1.08 | 80 | 80 | 80 | 80 | 1 | 1 | 254 | 254 | 254 | 254 | 254 | 254 | 254 | 254 | 1 | 1 | 1 | 1 | 1649 | 1649 | 1649 | 1649 | 1 | 1 |  |  |  |  | 0.89 | 0.84 | 0.92 | 5 | 5 | 5 | 10 | 10 | 10 | 10 | 10 | 10
FALSE | 1:11 | IAPSO 0% | [7 empty] | 1.03 | [14 empty] | 0.99 | 1.04 | [28 empty] | 1.02 | 1.01 | 1.01
FALSE | 1:12 | IAPSO 1% | 0 | 0 | 0 |  |  |  |  | 1.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0.98 | 1.06 | 0 | 0 | 0 | 0 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 11 | 11 | 11 | 11 |  |  | 1 | 1 | 1 | 1 | 1.01 | 1 | 1 |  |  |  | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01
FALSE | 1:13 | IAPSO 5% | 0.02 | 0.02 | 0.02 |  |  |  |  | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | [6 empty] | 0.96 | 1.07 | 2 | 2 | 2 | 2 |  |  | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 |  |  |  |  | 54 | 54 | 54 | 54 |  |  | 5 | 5 | 5 | 5 | 1.01 | 0.99 | 1 |  |  |  | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04
FALSE | 1:14 | IAPSO 10% | 0.05 | 0.05 | 0.05 |  |  |  |  | 0.99 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | [6 empty] | 0.95 | 1.08 | 4 | 4 | 4 | 4 |  |  | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 |  |  |  |  | 108 | 108 | 108 | 108 |  |  | 9 | 9 | 9 | 9 | 1 | 0.98 | 0.99 |  |  |  | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08
FALSE | 1:15 | IAPSO 25% | 0.11 | 0.11 | 0.11 |  |  |  |  | 0.97 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | [6 empty] | 0.93 | 1.1 | 10 | 10 | 10 | 10 |  |  | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 |  |  |  |  | 269 | 269 | 269 | 269 |  |  | 23 | 23 | 23 | 23 | 0.98 | 0.95 | 0.98 |  |  |  | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2
FALSE | 1:16 | IAPSO 50% | 0.23 | 0.23 | 0.23 |  |  |  |  | 0.95 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | [6 empty] | 0.93 | 1.11 | 20 | 20 | 20 | 20 |  |  | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 |  |  |  |  | 538 | 538 | 538 | 538 |  |  | 45 | 45 | 45 | 45 | 0.96 | 0.93 | 0.97 |  |  |  | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39
FALSE | 1:17 | IAPSO 75% | 0.34 | 0.34 | 0.34 |  |  |  |  | 0.92 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | [6 empty] | 0.91 | 1.1 | 30 | 30 | 30 | 30 |  |  | 97 | 97 | 97 | 97 | 97 | 97 | 97 | 97 |  |  |  |  | 807 | 807 | 807 | 807 |  |  | 68 | 68 | 68 | 68 | 0.95 | 0.91 | 0.97 |  |  |  | 0.59 | 0.59 | 0.59 | 0.59 | 0.59 | 0.59
FALSE | 1:18 | IAPSO 100% | 0.45 | 0.45 | 0.45 |  |  |  |  | 0.9 | 41 | 41 | 41 | 41 | 41 | 41 | 41 | 41 | [6 empty] | 0.9 | 1.09 | 40 | 40 | 40 | 40 |  |  | 129 | 129 | 129 | 129 | 129 | 129 | 129 | 129 |  |  |  |  | 1076 | 1076 | 1076 | 1076 |  |  | 90 | 90 | 90 | 90 | 0.93 | 0.89 | 0.96 |  |  |  | 0.79 | 0.79 | 0.79 | 0.79 | 0.79 | 0.79
FALSE | 2:01 | DRIFT-1 | 4.47 | 4.41 | 4.4 | 0.21 | -0.23 | -0.37 | 0.45 | 0.9 | 398 | 401 | 394 | 399 | 399 | 402 | 390 | 389 | -0.07 | -0.05 | -0.08 | -0.07 | -0.09 | -0.08 | 0.9 | 1.12 | 379 | 397 | 387 | 368 | 0.18 | -1.7 | 1272 | 1262 | 1267 | 1241 | 1241 | 1230 | 1267 | 1266 | -0.02 | -0.01 | -0.02 | -0.01 | 10367 | 10367 | 10279 |  | -0.04 | 0.05 | 888 | 897 | 889 | 907 | 0.94 | 0.9 | 0.96 | 0.66 | 0.7 | 0.73 | 7.63 | 7.74 | 7.72 | 7.76 | 7.7 | 7.76
FALSE | 2:02 | LIQ9361191 | 4.2 | 4.24 | 4.24 | 0.06 | -0.4 | -0.54 | 0.28 | 0.91 | 393 | 394 | 393 | 396 | 392 | 392 | 384 | 382 | -0.08 | -0.06 | -0.1 | -0.09 | -0.11 | -0.09 | 0.91 | 1.12 | 376 | 389 | 379 | 362 | 0.18 | -2.01 | 1234 | 1221 | 1222 | 1213 | 1226 | 1217 | 1241 | 1256 | -0.02 | 0 | -0.02 | -0.01 | 10298 | 10131 | 10217 |  | 0.08 | 0 | 867 | 880 | 872 | 884 | 0.95 | 0.91 | 0.97 | 3.73 | 3.75 | 3.7 | 7.56 | 7.79 | 7.79 | 7.81 | 7.6 | 7.84
FALSE | 2:03 | LIQ9369691 | 4.15 | 4.14 | 4.12 | 0.06 | -0.4 | -0.54 | 0.28 | 0.91 | 385 | 390 | 384 | 389 | 384 | 388 | 378 | 376 | -0.03 | -0.02 | -0.05 | -0.03 | -0.05 | -0.04 | 0.9 | 1.12 | 367 | 386 | 376 | 355 | 0.18 | -1.97 | 1226 | 1217 | 1221 | 1204 | 1199 | 1178 | 1220 | 1217 | -0.01 | 0.01 | -0.01 | 0 | 10077 | 10045 | 9969 |  | 0.08 | 0.01 | 831 | 863 | 859 | 874 | 0.95 | 0.91 | 0.96 | 3.63 | 3.69 | 3.68 | 7.46 | 7.68 | 7.59 | 7.68 | 7.48 | 7.67
FALSE | 2:04 | LIQ9372251 | 4.87 | 5.01 | 4.95 | 0.09 | -0.36 | -0.51 | 0.32 | 0.91 | 387 | 382 | 385 | 382 | 387 | 380 | 381 | 369 | -0.09 | -0.07 | -0.1 | -0.08 | -0.11 | -0.09 | 0.93 | 1.12 | 411 | 416 | 411 | 397 | 0.18 | -1.94 | 1172 | 1173 | 1162 | 1162 | 1189 | 1145 | 1201 | 1180 | 4.63 | 4.64 | 4.61 | 4.62 | 10176 | 9873 | 10176 |  | 0.36 | 0.27 | 847 | 859 | 845 | 867 | 0.94 | 0.9 | 0.98 | 16.95 | 16.85 | 16.86 | 7.36 | 7.32 | 7.67 | 7.51 | 7.51 | 7.5
FALSE | 2:05 | LIQ9371451 | 4.69 | 4.75 | 4.71 | 0.1 | -0.35 | -0.49 | 0.33 | 0.91 | 377 | 381 | 378 | 381 | 376 | 379 | 370 | 368 | -0.08 | -0.07 | -0.1 | -0.08 | -0.11 | -0.1 | 0.92 | 1.14 | 411 | 422 | 419 | 392 | 0.18 | -2.18 | 1181 | 1182 | 1174 | 1159 | 1156 | 1124 | 1173 | 1173 | 4.44 | 4.48 | 4.46 | 4.5 | 10065 | 9970 | 9968 |  | 0.23 | 0.27 | 829 | 856 | 845 | 865 | 0.95 | 0.91 | 0.98 | 16.02 | 16.16 | 16.11 | 7.14 | 7.32 | 7.39 | 7.41 | 7.21 | 7.29
FALSE | 2:06 | LIQ9365201 | 9.36 | 9.49 | 9.44 | 60.61 | 60.95 | 60.38 | 57.5 | 0.92 | 348 | 351 | 349 | 351 | 347 | 351 | 341 | 340 | 0.52 | 0.54 | 0.52 | 0.54 | 0.51 | 0.53 | 0.89 | 1.12 | 270 | 295 | 282 | 251 | 0.4 | -1.44 | 751 | 746 | 739 | 720 | 751 | 716 | 747 | 721 | 0.86 | 0.89 | 0.87 | 0.89 | 10413 | 10235 | 10328 |  | 0.19 | 0.16 | 8 | 10 | 1 | 6 | 0.95 | 0.92 | 0.98 | 26.14 | 26.54 | 26.57 | 13.94 | 14.39 | 13.72 | 14.34 | 14.01 | 14.11
FALSE | 2:07 | LIQ9360731 | 7.2 | 7.24 | 7.21 | 43.18 | 44.28 | 43.82 | 42.14 | 0.92 | 295 | 297 | 294 | 296 | 294 | 297 | 290 | 288 | 0.13 | 0.15 | 0.12 | 0.14 | 0.1 | 0.11 | 0.89 | 1.11 | 287 | 310 | 298 | 272 | 0.28 | -1.23 | 866 | 853 | 859 | 833 | 869 | 877 | 873 | 866 | 0.69 | 0.71 | 0.69 | 0.7 | 10442 | 10364 | 10463 |  | 0.26 | 0.24 | -1 | 10 | 4 | 9 | 0.94 | 0.91 | 0.98 | 25.84 | 26.54 | 26.61 | 13.19 | 13.73 | 12.93 | 13.65 | 13.45 | 13.72
FALSE | 2:08 | LIQ9357011 | 5.2 | 5.2 | 5.19 | 0.16 | -0.3 | -0.44 | 0.38 | 0.92 | 326 | 327 | 328 | 326 | 325 | 326 | 319 | 318 | 0.35 | 0.36 | 0.34 | 0.36 | 0.34 | 0.35 | 0.91 | 1.13 | 324 | 344 | 333 | 304 | 0.19 | -1.88 | 977 | 962 | 964 | 945 | 973 | 954 | 980 | 967 | 1.99 | 2 | 1.99 | 2 | 10316 | 10202 | 10166 |  | 0.35 | 0.35 | 193 | 199 | 199 | 205 | 0.95 | 0.92 | 0.99 | 28.14 | 28.51 | 28.6 | 10.18 | 10.38 | 10.12 | 10.4 | 9.95 | 10.27
FALSE | 2:09 | LIQ9370261 | 4.89 | 4.95 | 4.9 | 0.12 | -0.33 | -0.47 | 0.35 | 0.91 | 388 | 386 | 385 | 390 | 387 | 387 | 378 | 374 | -0.07 | -0.05 | -0.09 | -0.08 | -0.11 | -0.09 | 0.92 | 1.13 | 423 | 429 | 424 | 406 | 0.18 | -2.14 | 1182 | 1181 | 1178 | 1161 | 1172 | 1100 | 1187 | 1156 | 4.69 | 4.73 | 4.79 | 4.82 | 10250 | 10016 | 10134 |  | 0.31 | 0.35 | 845 | 871 | 843 | 860 | 0.95 | 0.91 | 0.98 | 16.04 | 16.11 | 16.1 | 7.49 | 7.64 | 7.59 | 7.63 | 7.56 | 7.61
FALSE | 2:10 | DRIFT-2 | 4.39 | 4.42 | 4.38 | 0.21 | -0.23 | -0.36 | 0.44 | 0.91 | 395 | 401 | 397 | 401 | 395 | 400 | 386 | 390 | -0.06 | -0.05 | -0.07 | -0.06 | -0.09 | -0.08 | 0.9 | 1.12 | 380 | 399 | 390 | 365 | 0.19 | -1.8 | 1267 | 1260 | 1261 | 1240 | 1232 | 1149 | 1252 | 1226 | -0.02 | -0.01 | -0.02 | -0.01 | 10386 | 10369 | 10344 |  | -0.03 | 0 | 893 | 910 | 897 | 910 | 0.95 | 0.91 | 0.96 | 0.7 | 0.85 | 0.81 | 7.61 | 7.93 | 7.75 | 7.84 | 7.73 | 7.86
FALSE | 2:11 | LIQ9358661 | 6.64 | 6.75 | 6.68 | 23.83 | 24.03 | 24.26 | 23.61 | 0.93 | 256 | 255 | 255 | 257 | 255 | 254 | 250 | 250 | -0.02 | -0.01 | -0.04 | -0.03 | -0.04 | -0.03 | 0.9 | 1.11 | 299 | 320 | 308 | 285 | 0.22 | -1.49 | 890 | 878 | 878 | 863 | 891 | 859 | 900 | 877 | 0.61 | 0.62 | 0.61 | 0.62 | 10367 | 10236 | 10341 |  | 0.44 | 0.41 | 5 | 14 | 1 | 6 | 0.94 | 0.92 | 0.99 | 24.87 | 25.34 | 25.37 | 12.13 | 12.65 | 12.2 | 12.63 | 12.37 | 12.48
FALSE | 2:12 | LIQ9369841 | 4.66 | 4.65 | 4.62 | 0.13 | -0.33 | -0.47 | 0.35 | 0.92 | 390 | 394 | 391 | 394 | 390 | 392 | 379 | 379 | -0.07 | -0.05 | -0.06 | -0.04 | -0.1 | -0.08 | 0.92 | 1.13 | 414 | 425 | 420 | 396 | 0.18 | -2.01 | 1176 | 1176 | 1164 | 1168 | 1163 | 1101 | 1192 | 1160 | 5.18 | 5.16 | 5.21 | 5.18 | 10137 | 10110 | 10125 |  | 0.31 | 0.18 | 838 | 858 | 826 | 844 | 0.95 | 0.91 | 0.98 | 16.79 | 16.86 | 16.9 | 7.46 | 7.65 | 7.65 | 7.66 | 7.42 | 7.62
FALSE | 2:13 | LIQ9370491 | 4.65 | 4.69 | 4.66 | 0.09 | -0.35 | -0.49 | 0.33 | 0.92 | 379 | 384 | 379 | 381 | 377 | 381 | 369 | 370 | -0.06 | -0.05 | -0.08 | -0.06 | -0.09 | -0.07 | 0.93 | 1.15 | 414 | 423 | 420 | 388 | 0.18 | -2.33 | 1181 | 1181 | 1179 | 1154 | 1145 | 1054 | 1176 | 1138 | 3.57 | 3.61 | 3.59 | 3.62 | 10088 | 10006 | 9900 |  | 0.23 | 0.22 | 858 | 877 | 844 | 865 | 0.96 | 0.92 | 0.98 | 15.08 | 15.27 | 15.21 | 7.31 | 7.49 | 7.46 | 7.48 | 7.26 | 7.38
FALSE | 2:14 | LIQ9355601 | 5.07 | 5.14 | 5.13 | 0.08 | -0.37 | -0.51 | 0.32 | 0.94 | 386 | 390 | 385 | 390 | 386 | 389 | 375 | 378 | -0.03 | -0.01 | -0.03 | -0.01 | -0.05 | -0.03 | 0.93 | 1.14 | 335 | 358 | 348 | 311 | 0.19 | -2.15 | 1063 | 1053 | 1060 | 1046 | 1058 | 998 | 1074 | 1053 | 3.32 | 3.29 | 3.31 | 3.28 | 10237 | 10261 | 10153 |  | 0.36 | 0.33 | 486 | 498 | 475 | 484 | 0.96 | 0.92 | 0.98 | 21.03 | 21.56 | 21.6 | 8.6 | 9.03 | 8.72 | 8.95 | 8.54 | 8.89
FALSE | 2:15 | LIQ9351241 | 5.98 | 6.07 | 6.03 | 0.1 | -0.34 | -0.49 | 0.33 | 0.91 | 436 | 443 | 439 | 441 | 438 | 441 | 425 | 423 | 0.01 | 0.03 | 0.01 | 0.03 | 0 | 0.01 | 0.88 | 1.12 | 370 | 389 | 379 | 355 | 0.19 | -1.54 | 982 | 971 | 972 | 950 | 972 | 958 | 984 | 979 | 2.05 | 2.07 | 2.05 | 2.06 | 10248 | 10095 | 10147 |  | 0.12 | 0.16 | 537 | 550 | 513 | 526 | 0.94 | 0.91 | 0.97 | 25.83 | 26.33 | 26.34 | 9.25 | 9.54 | 9.14 | 9.3 | 9.06 | 9.09
FALSE | 2:16 | LIQ9371181 | 5.27 | 5.36 | 5.32 | 0.09 | -0.36 | -0.51 | 0.31 | 0.92 | 387 | 387 | 388 | 388 | 388 | 386 | 376 | 375 | 0.08 | 0.1 | 0.08 | 0.1 | 0.06 | 0.07 | 0.93 | 1.14 | 419 | 426 | 420 | 400 | 0.18 | -2.01 | 1158 | 1146 | 1146 | 1133 | 1150 | 1112 | 1173 | 1157 | 4.82 | 4.84 | 4.88 | 4.89 | 10115 | 10022 | 10070 |  | 0.33 | 0.29 | 829 | 858 | 815 | 838 | 0.95 | 0.92 | 0.99 | 20.31 | 20.34 | 20.38 | 7.33 | 7.55 | 7.48 | 7.54 | 7.62 | 7.5
FALSE | 2:17 | LIQ9370911 | 5 | 5.11 | 5.07 | 0.1 | -0.35 | -0.49 | 0.34 | 0.92 | 381 | 384 | 379 | 382 | 380 | 382 | 370 | 373 | -0.07 | -0.06 | -0.07 | -0.05 | -0.1 | -0.09 | 0.91 | 1.15 | 410 | 418 | 414 | 385 | 0.18 | -2.32 | 1172 | 1171 | 1173 | 1149 | 1152 | 1118 | 1171 | 1160 | 4.91 | 4.95 | 4.97 | 5 | 9994 | 9909 | 9920 |  | 0.28 | 0.32 | 856 | 880 | 841 | 866 | 0.95 | 0.92 | 0.98 | 16.49 | 16.5 | 16.49 | 7.37 | 7.58 | 7.32 | 7.46 | 7.32 | 7.43
FALSE | 2:18 | LIQ9351731 | 5.58 | 5.7 | 5.68 | 0.08 | -0.36 | -0.51 | 0.32 | 0.91 | 422 | 429 | 425 | 431 | 423 | 426 | 410 | 412 | -0.05 | -0.03 | -0.04 | -0.02 | -0.08 | -0.06 | 0.9 | 1.12 | 355 | 375 | 364 | 338 | 0.23 | -1.49 | 912 | 907 | 899 | 884 | 905 | 910 | 912 | 918 | 1.76 | 1.79 | 1.77 | 1.79 | 10071 | 9948 | 9918 |  | 0.12 | 0.12 | 435 | 456 | 436 | 447 | 0.94 | 0.91 | 0.96 | 20.87 | 21.48 | 21.52 | 9.25 | 9.65 | 9.3 | 9.52 | 9.23 | 9.43
FALSE | 2:19 | DRIFT-3 | 4.32 | 4.43 | 4.35 | 0.21 | -0.23 | -0.37 | 0.45 | 0.91 | 400 | 403 | 403 | 405 | 398 | 405 | 389 | 391 | -0.07 | -0.05 | -0.08 | -0.06 | -0.09 | -0.08 | 0.9 | 1.12 | 380 | 400 | 390 | 363 | 0.18 | -1.61 | 1258 | 1257 | 1256 | 1250 | 1249 | 1237 | 1269 | 1274 | -0.02 | 0 | -0.02 | -0.01 | 10456 | 10347 | 10369 |  | -0.01 | -0.01 | 889 | 906 | 889 | 905 | 0.94 | 0.9 | 0.97 | 0.65 | 0.72 | 0.75 | 7.66 | 7.88 | 7.81 | 7.86 | 7.49 | 7.79
FALSE | 2:20 | LIQ9363501 | 8.69 | 8.71 | 8.69 | 56.81 | 58.34 | 57.51 | 55.3 | 0.94 | 334 | 337 | 333 | 334 | 333 | 335 | 322 | 325 | 1.99 | 1.99 | 1.94 | 1.94 | 1.97 | 1.97 | 0.9 | 1.12 | 264 | 287 | 275 | 244 | 0.35 | -1.39 | 769 | 761 | 760 | 747 | 780 | 765 | 779 | 768 | 0.71 | 0.72 | 0.72 | 0.73 | 10253 | 10081 | 10224 |  | 0.37 | 0.35 | 2 | 15 | 2 | 6 | 0.94 | 0.93 | 0.99 | 25.65 | 25.72 | 25.78 | 13.68 | 14.13 | 13.44 | 14.05 | 13.75 | 13.98
FALSE | 2:21 | LIQ9369931 | 4.56 | 4.58 | 4.55 | 0.14 | -0.31 | -0.45 | 0.37 | 0.93 | 392 | 393 | 390 | 392 | 389 | 391 | 379 | 378 | -0.07 | -0.05 | -0.09 | -0.07 | -0.1 | -0.08 | 0.92 | 1.14 | 418 | 424 | 422 | 391 | 0.18 | -2.31 | 1162 | 1156 | 1165 | 1151 | 1168 | 1124 | 1190 | 1170 | 5.18 | 5.15 | 5.22 | 5.18 | 10246 | 9986 | 10164 |  | 0.32 | 0.29 | 819 | 848 | 822 | 845 | 0.95 | 0.92 | 0.99 | 16.57 | 16.24 | 16.3 | 7.46 | 7.66 | 7.6 | 7.6 | 7.43 | 7.5
FALSE | 2:22 | LIQ9369751 | 4.67 | 4.69 | 4.63 | 0.24 | -0.22 | -0.36 | 0.46 | 0.93 | 385 | 384 | 385 | 385 | 383 | 385 | 372 | 372 | 0.39 | 0.4 | 0.38 | 0.39 | 0.36 | 0.38 | 0.93 | 1.13 | 434 | 432 | 434 | 414 | 0.19 | -1.93 | 1176 | 1180 | 1175 | 1169 | 1171 | 1094 | 1190 | 1163 | 1.81 | 1.81 | 1.81 | 1.81 | 10249 | 10173 | 10225 |  | 0.25 | 0.23 | 887 | 900 | 862 | 875 | 0.96 | 0.92 | 0.99 | 14.09 | 14.12 | 14.16 | 7.29 | 7.45 | 7.53 | 7.53 | 7.41 | 7.53
FALSE | 2:23 | LIQ9370391 | 4.62 | 4.55 | 4.59 | 0.11 | -0.34 | -0.49 | 0.34 | 0.93 | 390 | 394 | 393 | 391 | 389 | 392 | 379 | 378 | -0.07 | -0.06 | -0.08 | -0.07 | -0.1 | -0.08 | 0.91 | 1.14 | 419 | 424 | 420 | 397 | 0.18 | -1.85 | 1173 | 1178 | 1179 | 1164 | 1166 | 1097 | 1189 | 1152 | 5.12 | 5.12 | 5.24 | 5.24 | 10266 | 10177 | 10227 |  | 0.29 | 0.35 | 839 | 866 | 827 | 847 | 0.95 | 0.92 | 0.99 | 16.97 | 17.1 | 17.09 | 7.56 | 7.77 | 7.64 | 7.65 | 7.35 | 7.66
FALSE | 2:24 | LIQ9359361 | 6.47 | 6.57 | 6.51 | 29.66 | 30.02 | 29.82 | 28.5 | 0.93 | 257 | 259 | 258 | 259 | 256 | 259 | 251 | 253 | 0.27 | 0.29 | 0.27 | 0.28 | 0.26 | 0.27 | 0.92 | 1.12 | 288 | 311 | 299 | 267 | 0.24 | -1.34 | 889 | 880 | 886 | 861 | 882 | 841 | 889 | 864 | 0.48 | 0.5 | 0.48 | 0.49 | 10335 | 10256 | 10232 |  | 0.35 | 0.38 | 1 | 11 | 4 | 9 | 0.94 | 0.93 | 0.98 | 24.89 | 25.21 | 25.39 | 12.21 | 12.76 | 12.46 | 12.92 | 12.52 | 12.98
FALSE | 2:25 | LIQ9354781 | 5.15 | 5.13 | 5.14 | 0.11 | -0.34 | -0.48 | 0.34 | 0.92 | 399 | 405 | 400 | 403 | 398 | 403 | 389 | 388 | 0.86 | 0.89 | 0.87 | 0.89 | 0.85 | 0.87 | 0.89 | 1.13 | 387 | 404 | 396 | 366 | 0.18 | -1.88 | 1135 | 1139 | 1140 | 1114 | 1118 | 1048 | 1135 | 1103 | 4.66 | 4.7 | 4.63 | 4.66 | 10302 | 10279 | 10214 |  | 0.5 | 0.5 | 680 | 692 | 664 | 680 | 0.95 | 0.92 | 0.98 | 21.45 | 21.23 | 21.29 | 8.27 | 8.5 | 8.16 | 8.19 | 7.9 | 8.12
FALSE | 2:26 | LIQ9370171 | 5.2 | 5.31 | 5.28 | 0.25 | -0.19 | -0.33 | 0.48 | 0.93 | 388 | 386 | 387 | 389 | 386 | 386 | 376 | 374 | -0.08 | -0.06 | -0.08 | -0.06 | -0.1 | -0.08 | 0.92 | 1.15 | 414 | 420 | 417 | 387 | 0.17 | -2.27 | 1151 | 1150 | 1140 | 1139 | 1152 | 1062 | 1175 | 1127 | 4.91 | 4.9 | 4.98 | 4.96 | 10042 | 9839 | 9939 |  | 0.29 | 0.32 | 831 | 874 | 828 | 854 | 0.96 | 0.92 | 0.99 | 18.33 | 18.39 | 18.4 | 7.37 | 7.59 | 7.49 | 7.48 | 7.24 | 7.4
FALSE | 2:27 | LIQ9353811 | 4.37 | 4.45 | 4.46 | 0.11 | -0.34 | -0.48 | 0.34 | 0.92 | 376 | 379 | 376 | 379 | 375 | 376 | 365 | 364 | -0.08 | -0.06 | -0.08 | -0.06 | -0.1 | -0.09 | 0.9 | 1.14 | 408 | 420 | 412 | 384 | 0.18 | -2.17 | 1161 | 1153 | 1160 | 1140 | 1147 | 1059 | 1168 | 1139 | 2.96 | 2.98 | 3.01 | 3.02 | 9988 | 9873 | 9960 |  | 0.29 | 0.24 | 844 | 867 | 833 | 852 | 0.96 | 0.92 | 0.98 | 13.21 | 13.48 | 13.39 | 7.31 | 7.54 | 7.31 | 7.35 | 7.1 | 7.29
FALSE | 2:28 | DRIFT-4 | 4.34 | 4.42 | 4.39 | 0.21 | -0.23 | -0.36 | 0.44 | 0.91 | 394 | 403 | 396 | 401 | 393 | 402 | 387 | 387 | -0.07 | -0.05 | -0.1 | -0.08 | -0.08 | -0.07 | 0.91 | 1.12 | 377 | 401 | 392 | 358 | 0.19 | -1.61 | 1270 | 1272 | 1275 | 1243 | 1228 | 1195 | 1251 | 1249 | -0.02 | -0.01 | -0.02 | -0.01 | 10338 | 10437 | 10304 |  | -0.04 | 0 | 895 | 908 | 889 | 902 | 0.95 | 0.91 | 0.96 | 0.62 | 0.73 | 0.71 | 7.51 | 7.84 | 7.65 | 7.77 | 7.47 | 7.8
FALSE | 2:29 | LIQ9370791 | 4.99 | 5.03 | 5 | 0.11 | -0.35 | -0.49 | 0.33 | 0.92 | 379 | 380 | 378 | 385 | 377 | 379 | 369 | 368 | 0.24 | 0.26 | 0.22 | 0.24 | 0.21 | 0.23 | 0.92 | 1.14 | 428 | 434 | 431 | 402 | 0.19 | -2.18 | 1167 | 1170 | 1162 | 1147 | 1141 | 1003 | 1169 | 1100 | 1.14 | 1.16 | 1.14 | 1.16 | 10092 | 9953 | 9983 |  | 0.22 | 0.2 | 864 | 888 | 868 | 885 | 0.96 | 0.93 | 0.98 | 13.97 | 14.16 | 14.1 | 7.24 | 7.44 | 7.37 | 7.37 | 7.06 | 7.45
FALSE | 2:30 | LIQ9371361 | 4.94 | 4.97 | 4.95 | 0.26 | -0.17 | -0.31 | 0.49 | 0.92 | 378 | 379 | 380 | 383 | 376 | 379 | 370 | 367 | -0.07 | -0.05 | -0.07 | -0.05 | -0.1 | -0.08 | 0.95 | 1.14 | 412 | 423 | 418 | 385 | 0.18 | -2.3 | 1171 | 1166 | 1173 | 1133 | 1137 | 1004 | 1168 | 1104 | 4.83 | 4.92 | 4.85 | 4.93 | 10091 | 10005 | 10071 |  | 0.32 | 0.32 | 854 | 873 | 841 | 856 | 0.96 | 0.93 | 0.99 | 16.44 | 16.5 | 16.39 | 7.1 | 7.33 | 7.33 | 7.38 | 7.14 | 7.43
FALSE | 2:31 | LIQ9356551 | 5.87 | 5.92 | 5.85 | 0.13 | -0.33 | -0.48 | 0.34 | 0.93 | 343 | 347 | 345 | 343 | 342 | 345 | 334 | 333 | 0.23 | 0.24 | 0.22 | 0.24 | 0.21 | 0.23 | 0.92 | 1.12 | 328 | 351 | 339 | 307 | 0.21 | -1.46 | 989 | 988 | 986 | 970 | 989 | 955 | 997 | 981 | 2.41 | 2.43 | 2.42 | 2.43 | 10433 | 10301 | 10427 |  | 0.4 | 0.35 | 262 | 267 | 264 | 269 | 0.95 | 0.92 | 0.98 | 24.54 | 25.38 | 25.31 | 9.55 | 9.91 | 9.84 | 9.97 | 9.74 | 9.95
FALSE | 2:32 | LIQ9371001 | 4.56 | 4.68 | 4.64 | 0.07 | -0.38 | -0.52 | 0.3 | 0.92 | 374 | 377 | 373 | 377 | 372 | 375 | 364 | 362 | -0.08 | -0.07 | -0.11 | -0.1 | -0.11 | -0.09 | 0.91 | 1.14 | 420 | 427 | 425 | 397 | 0.21 | -2.02 | 1181 | 1184 | 1183 | 1152 | 1153 | 1059 | 1177 | 1139 | -0.01 | 0.01 | -0.01 | 0 | 10118 | 10045 | 10091 |  | 0.24 | 0.19 | 885 | 894 | 858 | 873 | 0.96 | 0.93 | 0.99 | 13.21 | 13.41 | 13.37 | 7.37 | 7.61 | 7.32 | 7.33 | 7.12 | 7.4
FALSE | 2:33 | LIQ9357611 | 5.91 | 6 | 5.98 | 0.32 | -0.1 | -0.24 | 0.56 | 0.93 | 281 | 283 | 283 | 285 | 281 | 282 | 274 | 276 | 0.15 | 0.17 | 0.14 | 0.16 | 0.13 | 0.14 | 0.92 | 1.13 | 302 | 325 | 313 | 277 | 0.2 | -1.86 | 934 | 936 | 928 | 910 | 917 | 850 | 926 | 892 | 1.26 | 1.28 | 1.26 | 1.29 | 10270 | 10181 | 10210 |  | 0.48 | 0.39 | 68 | 79 | 68 | 74 | 0.95 | 0.93 | 0.99 | 22.67 | 23.18 | 23.18 | 11.16 | 11.56 | 11.21 | 11.55 | 11.04 | 11.52
FALSE | 2:34 | LIQ9371271 | 4.71 | 4.81 | 4.75 | 0.12 | -0.32 | -0.46 | 0.36 | 0.93 | 379 | 382 | 380 | 380 | 378 | 381 | 369 | 367 | -0.08 | -0.07 | -0.08 | -0.07 | -0.11 | -0.1 | 0.93 | 1.15 | 409 | 420 | 415 | 380 | 0.18 | -2.43 | 1164 | 1165 | 1165 | 1143 | 1142 | 1055 | 1169 | 1133 | 4.7 | 4.73 | 4.69 | 4.72 | 10022 | 9816 | 9862 |  | 0.31 | 0.31 | 841 | 864 | 840 | 861 | 0.97 | 0.93 | 0.99 | 16.63 | 16.83 | 16.84 | 7.24 | 7.45 | 7.45 | 7.42 | 7.05 | 7.32
FALSE | 2:35 | LIQ9358121 | 6.26 | 6.37 | 6.28 | 14.44 | 14.53 | 14.56 | 14.23 | 0.94 | 255 | 255 | 256 | 256 | 255 | 255 | 248 | 249 | 0.15 | 0.17 | 0.15 | 0.16 | 0.13 | 0.15 | 0.92 | 1.12 | 300 | 326 | 313 | 281 | 0.2 | -1.44 | 905 | 896 | 893 | 882 | 909 | 872 | 918 | 897 | 0.43 | 0.44 | 0.43 | 0.44 | 10399 | 10297 | 10424 |  | 0.52 | 0.5 | 14 | 8 | 6 | 10 | 0.95 | 0.93 | 0.99 | 26.11 | 26.66 | 26.75 | 11.7 | 12.08 | 11.9 | 12.3 | 11.9 | 12.4
FALSE | 2:36 | LIQ9355171 | 5.14 | 5.17 | 5.15 | 0.09 | -0.36 | -0.5 | 0.32 | 0.92 | 399 | 403 | 399 | 400 | 400 | 401 | 389 | 388 | 0.56 | 0.59 | 0.54 | 0.56 | 0.53 | 0.56 | 0.93 | 1.14 | 368 | 387 | 377 | 341 | 0.17 | -2.06 | 1125 | 1128 | 1128 | 1100 | 1106 | 1013 | 1129 | 1085 | 4.06 | 4.12 | 4.1 | 4.15 | 10369 | 10236 | 10304 |  | 0.45 | 0.4 | 626 | 635 | 603 | 618 | 0.96 | 0.93 | 0.99 | 24.81 | 25.13 | 25.19 | 8.17 | 8.43 | 8.35 | 8.54 | 8.16 | 8.37
FALSE | 2:37 | DRIFT-5 | 4.37 | 4.39 | 4.38 | 0.22 | -0.23 | -0.37 | 0.45 | 0.92 | 399 | 400 | 403 | 400 | 400 | 400 | 394 | 388 | -0.07 | -0.05 | -0.1 | -0.08 | -0.09 | -0.07 | 0.91 | 1.13 | 381 | 401 | 391 | 357 | 0.18 | -1.95 | 1261 | 1258 | 1252 | 1238 | 1242 | 1165 | 1271 | 1239 | -0.02 | -0.01 | -0.02 | -0.01 | 10490 | 10370 | 10422 |  | 0.04 | -0.06 | 909 | 921 | 891 | 906 | 0.95 | 0.92 | 0.98 | 0.73 | 0.78 | 0.77 | 7.7 | 7.92 | 7.84 | 7.84 | 7.55 | 7.8
FALSE | 2:38 | LIQ9371651 | 4.6 | 4.55 | 4.54 | 0.07 | -0.39 | -0.54 | 0.29 | 0.94 | 379 | 380 | 383 | 378 | 378 | 378 | 371 | 366 | 0.06 | 0.07 | 0.06 | 0.08 | 0.04 | 0.06 | 0.95 | 1.16 | 416 | 425 | 424 | 383 | 0.18 | -2.63 | 1160 | 1165 | 1165 | 1147 | 1147 | 1042 | 1181 | 1124 | 4.38 | 4.39 | 4.35 | 4.36 | 10085 | 9901 | 9995 |  | 0.28 | 0.25 | 837 | 871 | 839 | 861 | 0.97 | 0.94 | 1 | 16.05 | 15.97 | 15.96 | 7.15 | 7.27 | 7.46 | 7.34 | 7.19 | 7.36
FALSE | 2:39 | LIQ9356041 | 5.61 | 5.65 | 5.65 | 0.13 | -0.33 | -0.47 | 0.35 | 0.93 | 368 | 371 | 364 | 372 | 366 | 370 | 358 | 358 | 0.45 | 0.47 | 0.43 | 0.45 | 0.44 | 0.46 | 0.92 | 1.14 | 324 | 351 | 340 | 296 | 0.2 | -2.11 | 1035 | 1031 | 1036 | 1008 | 1024 | 988 | 1034 | 1020 | 2.79 | 2.82 | 2.83 | 2.85 | 10224 | 10251 | 10144 |  | 0.44 | 0.39 | 376 | 380 | 363 | 372 | 0.97 | 0.93 | 0.99 | 23.34 | 23.5 | 23.51 | 9.14 | 9.49 | 9.19 | 9.49 | 8.95 | 9.3
FALSE | 2:40 | LIQ9366121 | 10.52 | 10.78 | 10.69 | 61.64 | 62.86 | 61.7 | 59.77 | 0.93 | 361 | 362 | 363 | 364 | 360 | 361 | 352 | 350 | 0.03 | 0.05 | 0.01 | 0.03 | 0.02 | 0.03 | 0.9 | 1.12 | 263 | 290 | 278 | 237 | 0.44 | -1.24 | 728 | 728 | 721 | 699 | 738 | 709 | 732 | 713 | 0.96 | 0.99 | 0.96 | 0.99 | 10617 | 10512 | 10673 |  | 0.19 | 0.17 | -5 | -2 | 2 | 6 | 0.94 | 0.93 | 0.99 | 27.39 | 27.17 | 27.39 | 14.33 | 14.9 | 14 | 14.64 | 14.22 | 14.66
FALSE | 2:41 | LIQ9370591 | 5.43 | 5.53 | 5.45 | 0.1 | -0.35 | -0.49 | 0.33 | 0.92 | 385 | 391 | 386 | 386 | 385 | 389 | 378 | 374 | -0.03 | -0.01 | -0.04 | -0.02 | -0.05 | -0.03 | 0.92 | 1.15 | 419 | 425 | 425 | 390 | 0.18 | -2.47 | 1158 | 1163 | 1161 | 1131 | 1130 | 1023 | 1156 | 1110 | 4.86 | 4.94 | 4.87 | 4.94 | 10154 | 10003 | 10057 |  | 0.29 | 0.32 | 827 | 844 | 810 | 830 | 0.97 | 0.93 | 0.99 | 20.17 | 20.47 | 20.49 | 7.54 | 7.72 | 7.53 | 7.52 | 7.3 | 7.54
FALSE | 2:42 | LIQ9361981 | 7.95 | 8.07 | 8.02 | 52.31 | 52.7 | 52.23 | 50.44 | 0.94 | 318 | 318 | 319 | 320 | 317 | 317 | 311 | 308 | 1.2 | 1.2 | 1.17 | 1.18 | 1.18 | 1.19 | 0.93 | 1.13 | 279 | 303 | 291 | 253 | 0.31 | -1.63 | 816 | 814 | 807 | 797 | 828 | 802 | 833 | 814 | 0.76 | 0.77 | 0.76 | 0.77 | 10417 | 10179 | 10381 |  | 0.32 | 0.27 | -6 | 2 | 2 | 6 | 0.95 | 0.93 | 1 | 26.98 | 27.29 | 27.4 | 13.23 | 13.73 | 13.3 | 13.89 | 13.45 | 13.81
FALSE | 2:43 | LIQ9354291 | 4.71 | 4.81 | 4.77 | 0.08 | -0.37 | -0.51 | 0.31 | 0.92 | 395 | 397 | 396 | 396 | 395 | 396 | 386 | 384 | 0.07 | 0.09 | 0.05 | 0.06 | 0.05 | 0.07 | 0.92 | 1.15 | 390 | 408 | 400 | 362 | 0.17 | -2.37 | 1152 | 1157 | 1151 | 1133 | 1140 | 1042 | 1166 | 1123 | 4.94 | 4.99 | 4.98 | 5.02 | 10251 | 10070 | 10206 |  | 0.35 | 0.3 | 786 | 806 | 762 | 784 | 0.96 | 0.93 | 0.99 | 19.96 | 19.46 | 19.5 | 7.7 | 7.91 | 7.81 | 7.86 | 7.4 | 7.76
FALSE | 2:44 | LIQ9349251 | 5.57 | 5.65 | 5.63 | 0.08 | -0.37 | -0.51 | 0.31 | 0.92 | 411 | 412 | 414 | 413 | 412 | 410 | 402 | 398 | 0.22 | 0.24 | 0.22 | 0.23 | 0.2 | 0.22 | 0.91 | 1.14 | 442 | 442 | 444 | 418 | 0.15 | -2.08 | 1131 | 1129 | 1132 | 1110 | 1131 | 1066 | 1152 | 1120 | 1.18 | 1.19 | 1.18 | 1.19 | 10432 | 10146 | 10356 |  | 0.1 | 0.11 | 828 | 850 | 800 | 820 | 0.95 | 0.92 | 0.99 | 20.73 | 20.97 | 20.87 | 7.87 | 8.03 | 7.95 | 7.94 | 7.66 | 7.87
FALSE | 2:45 | LIQ9352991 | 6.24 | 6.32 | 6.31 | 0.11 | -0.33 | -0.48 | 0.34 | 0.93 | 429 | 429 | 434 | 431 | 430 | 429 | 419 | 413 | -0.06 | -0.05 | -0.09 | -0.07 | -0.09 | -0.07 | 0.92 | 1.13 | 337 | 359 | 348 | 314 | 0.29 | -1.59 | 881 | 877 | 873 | 862 | 899 | 870 | 900 | 882 | 1.39 | 1.39 | 1.4 | 1.4 | 10307 | 10091 | 10226 |  | 0.1 | 0.09 | 407 | 419 | 394 | 402 | 0.95 | 0.92 | 0.99 | 27.08 | 27.84 | 27.98 | 9.81 | 10.06 | 9.94 | 10.11 | 9.87 | 10.06
FALSE | 2:46 | LIQ9371091 | 4.8 | 4.86 | 4.81 | 0.11 | -0.34 | -0.49 | 0.34 | 0.93 | 387 | 385 | 383 | 384 | 386 | 384 | 377 | 369 | -0.07 | -0.05 | -0.1 | -0.08 | -0.09 | -0.07 | 0.95 | 1.16 | 417 | 424 | 422 | 385 | 0.18 | -2.59 | 1167 | 1162 | 1175 | 1139 | 1164 | 1013 | 1185 | 1110 | 4.76 | 4.8 | 4.75 | 4.79 | 10183 | 9883 | 10048 |  | 0.35 | 0.28 | 859 | 880 | 835 | 858 | 0.97 | 0.93 | 1.01 | 15.88 | 16.05 | 16.08 | 7.26 | 7.38 | 7.47 | 7.45 | 7.23 | 7.42
FALSE | 2:47 | DRIFT-6 | 4.34 | 4.38 | 4.36 | 0.21 | -0.23 | -0.37 | 0.45 | 0.92 | 403 | 407 | 410 | 404 | 404 | 404 | 397 | 389 | -0.07 | -0.05 | -0.08 | -0.06 | -0.1 | -0.08 | 0.92 | 1.13 | 383 | 402 | 393 | 360 | 0.18 | -1.84 | 1252 | 1269 | 1271 | 1255 | 1259 | 1205 | 1283 | 1254 | -0.02 | 0 | -0.02 | -0.01 | 10551 | 10357 | 10413 |  | -0.01 | 0 | 886 | 896 | 889 | 903 | 0.95 | 0.91 | 0.99 | 0.73 | 0.73 | 0.77 | 7.62 | 7.78 | 7.87 | 7.85 | 7.49 | 7.84

## Condition Set
Label (Wavelength nm) | Type | Background Correction | Number of Pixels | Condition Set
B (208.956 nm) | Analyte | Off-Peak Left+Right | 2 | 1
B (249.678 nm) | Analyte | Off-Peak Left | 2 | 1
B (249.772 nm) | Analyte | Off-Peak Left+Right | 2 | 1
Ba (230.424 nm) | Analyte | Off-Peak Right | 2 | 2
Ba (230.424 nm) | Analyte | Off-Peak Right | 2 | 1
Ba (455.403 nm) | Analyte | Off-Peak Left+Right | 2 | 1
Ba (455.403 nm) | Analyte | Off-Peak Left+Right | 2 | 2
Be (313.042 nm) | Internal Standard | Off-Peak Left+Right | 2 | 1
Ca (315.887 nm) | Analyte | Off-Peak Right | 2 | 1
Ca (315.887 nm) | Analyte | Off-Peak Left+Right | 2 | 2
Ca (317.933 nm) | Analyte | Off-Peak Left+Right | 2 | 1
Ca (317.933 nm) | Analyte | Off-Peak Left+Right | 2 | 2
Ca (318.127 nm) | Analyte | Off-Peak Left | 2 | 2
Ca (318.127 nm) | Analyte | Off-Peak Left | 2 | 1
Ca (431.865 nm) | Analyte | Off-Peak Right | 2 | 2
Ca (431.865 nm) | Analyte | Off-Peak Right | 2 | 1
Fe (238.204 nm) | Analyte | Off-Peak Left+Right | 2 | 1
Fe (238.204 nm) | Analyte | Off-Peak Right | 2 | 1
Fe (239.563 nm) | Analyte | Off-Peak Left+Right | 2 | 1
Fe (239.563 nm) | Analyte | Off-Peak Left+Right | 2 | 1
Fe (259.940 nm) | Analyte | Off-Peak Left+Right | 2 | 1
Fe (259.940 nm) | Analyte | Off-Peak Left+Right | 2 | 1
In (230.606 nm) | Internal Standard | Off-Peak Left+Right | 2 | 2
In (325.609 nm) | Internal Standard | Off-Peak Left+Right | 2 | 1
K (766.491 nm) | Analyte | Off-Peak Left+Right | 2 | 2
K (766.491 nm) | Analyte | Off-Peak Left+Right | 2 | 1
K (769.897 nm) | Analyte | Off-Peak Right | 2 | 1
K (769.897 nm) | Analyte | Off-Peak Right | 2 | 2
Li (670.783 nm) | Analyte | Off-Peak Left | 2 | 2
Li (670.783 nm) | Analyte | Off-Peak Left | 2 | 1
Mg (202.582 nm) | Analyte | Off-Peak Left+Right | 2 | 1
Mg (277.983 nm) | Analyte | Off-Peak Left+Right | 2 | 1
Mg (278.142 nm) | Analyte | Off-Peak Left+Right | 2 | 1
Mg (279.078 nm) | Analyte | Off-Peak Left+Right | 2 | 1
Mg (279.553 nm) | Analyte | Off-Peak Left+Right | 2 | 2
Mg (279.553 nm) | Analyte | Off-Peak Left+Right | 2 | 1
Mg (280.270 nm) | Analyte | Off-Peak Left+Right | 2 | 1
Mg (280.270 nm) | Analyte | Off-Peak Left+Right | 2 | 2
Mn (257.610 nm) | Analyte | Off-Peak Left+Right | 2 | 1
Mn (257.610 nm) | Analyte | Off-Peak Left+Right | 2 | 1
Mn (259.372 nm) | Analyte | Off-Peak Left+Right | 2 | 1
Mn (259.372 nm) | Analyte | Off-Peak Left+Right | 2 | 1
Na (330.298 nm) | Analyte | Off-Peak Right | 2 | 1
Na (330.298 nm) | Analyte | Off-Peak Left+Right | 2 | 2
Na (589.592 nm) | Analyte | Off-Peak Left+Right | 2 | 2
Na (589.592 nm) | Analyte | Fitted | 2 | 1
P (177.434 nm) | Analyte | Off-Peak Left+Right | 2 | 1
P (213.618 nm) | Analyte | Off-Peak Right | 2 | 1
S (178.165 nm) | Analyte | Off-Peak Right | 2 | 1
S (178.165 nm) | Analyte | Off-Peak Right | 2 | 1
S (182.562 nm) | Analyte | Off-Peak Left | 2 | 1
S (182.562 nm) | Analyte | Off-Peak Left | 2 | 1
Sb (206.834 nm) | Internal Standard | Off-Peak Left+Right | 2 | 1
Sc (361.383 nm) | Internal Standard | Off-Peak Left+Right | 2 | 1
Sc (424.682 nm) | Internal Standard | Off-Peak Left+Right | 2 | 2
Si (221.667 nm) | Analyte | Off-Peak Left+Right | 2 | 1
Si (251.611 nm) | Analyte | Off-Peak Left+Right | 2 | 1
Si (288.158 nm) | Analyte | Off-Peak Left+Right | 2 | 1
Sr (407.771 nm) | Analyte | Off-Peak Left+Right | 2 | 2
Sr (407.771 nm) | Analyte | Off-Peak Left+Right | 2 | 1
Sr (421.552 nm) | Analyte | Off-Peak Left+Right | 2 | 2
Sr (421.552 nm) | Analyte | Off-Peak Left+Right | 2 | 1
Sr (460.733 nm) | Analyte | Off-Peak Left+Right | 2 | 1
Sr (460.733 nm) | Analyte | Off-Peak Left+Right | 2 | 2

## Element List
Element | Wavelength (nm) | Label | Type | Internal Standard (Wavelength nm)
B | 208.956 | B | Analyte | Sb (206.834)
B | 249.678 | B | Analyte | Sb (206.834)
B | 249.772 | B | Analyte | Sb (206.834)
Ba | 230.424 | Ba | Analyte | Sb (206.834)
Ba | 230.424 | Ba | Analyte | Sb (206.834)
Ba | 455.403 | Ba | Analyte | Sc (424.682)
Ba | 455.403 | Ba | Analyte | Sc (361.383)
Be | 313.042 | Be | Internal Standard | None
Ca | 315.887 | Ca | Analyte | Sc (361.383)
Ca | 315.887 | Ca | Analyte | Sc (361.383)
Ca | 317.933 | Ca | Analyte | Sc (361.383)
Ca | 317.933 | Ca | Analyte | Sc (361.383)
Ca | 318.127 | Ca | Analyte | Sc (361.383)
Ca | 318.127 | Ca | Analyte | Sc (361.383)
Ca | 431.865 | Ca | Analyte | Sc (361.383)
Ca | 431.865 | Ca | Analyte | Sc (361.383)
Fe | 238.204 | Fe | Analyte | Be (313.042)
Fe | 238.204 | Fe | Analyte | Sc (361.383)
Fe | 239.563 | Fe | Analyte | Be (313.042)
Fe | 239.563 | Fe | Analyte | Sc (361.383)
Fe | 259.94 | Fe | Analyte | Sc (361.383)
Fe | 259.94 | Fe | Analyte | Be (313.042)
In | 230.606 | In | Internal Standard | None
In | 325.609 | In | Internal Standard | None
K | 766.491 | K | Analyte | In (325.609)
K | 766.491 | K | Analyte | In (325.609)
K | 769.897 | K | Analyte | In (325.609)
K | 769.897 | K | Analyte | In (325.609)
Li | 670.783 | Li | Analyte | In (325.609)
Li | 670.783 | Li | Analyte | In (325.609)
Mg | 202.582 | Mg | Analyte | Be (313.042)
Mg | 277.983 | Mg | Analyte | Be (313.042)
Mg | 278.142 | Mg | Analyte | Be (313.042)
Mg | 279.078 | Mg | Analyte | Sc (361.383)
Mg | 279.553 | Mg | Analyte | Sc (361.383)
Mg | 279.553 | Mg | Analyte | Sc (361.383)
Mg | 280.27 | Mg | Analyte | Sc (361.383)
Mg | 280.27 | Mg | Analyte | Sc (361.383)
Mn | 257.61 | Mn | Analyte | Sc (361.383)
Mn | 257.61 | Mn | Analyte | Be (313.042)
Mn | 259.372 | Mn | Analyte | Be (313.042)
Mn | 259.372 | Mn | Analyte | Sc (361.383)
Na | 330.298 | Na | Analyte | In (325.609)
Na | 330.298 | Na | Analyte | In (325.609)
Na | 589.592 | Na | Analyte | In (325.609)
Na | 589.592 | Na | Analyte | In (325.609)
P | 177.434 | P | Analyte | Sb (206.834)
P | 213.618 | P | Analyte | Sb (206.834)
S | 178.165 | S | Analyte | In (325.609)
S | 178.165 | S | Analyte | Sb (206.834)
S | 182.562 | S | Analyte | In (325.609)
S | 182.562 | S | Analyte | Sb (206.834)
Sb | 206.834 | Sb | Internal Standard | None
Sc | 361.383 | Sc | Internal Standard | None
Sc | 424.682 | Sc | Internal Standard | None
Si | 221.667 | Si | Analyte | Sb (206.834)
Si | 251.611 | Si | Analyte | In (325.609)
Si | 288.158 | Si | Analyte | In (325.609)
Sr | 407.771 | Sr | Analyte | In (230.606)
Sr | 407.771 | Sr | Analyte | In (230.606)
Sr | 421.552 | Sr | Analyte | Sc (361.383)
Sr | 421.552 | Sr | Analyte | Sc (361.383)
Sr | 460.733 | Sr | Analyte | In (325.609)
Sr | 460.733 | Sr | Analyte | In (325.609)