## Sheet1
| Rack:Tube | Solution Label | B 208.956 nm ppm | B 249.678 nm ppm | B 249.772 nm ppm | Ba 230.424 nm ppm | Ba 230.424 nm ppm | Ba 455.403 nm ppm | Ba 455.403 nm ppm | Be 313.042 nm Ratio | Ca 315.887 nm ppm | Ca 315.887 nm ppm | Ca 317.933 nm ppm | Ca 317.933 nm ppm | Ca 318.127 nm ppm | Ca 318.127 nm ppm | Ca 431.865 nm ppm | Ca 431.865 nm ppm | Fe 238.204 nm ppm | Fe 238.204 nm ppm | Fe 239.563 nm ppm | Fe 239.563 nm ppm | Fe 259.940 nm ppm | Fe 259.940 nm ppm | In 230.606 nm Ratio | In 325.609 nm Ratio | K 766.491 nm ppm | K 766.491 nm ppm | K 769.897 nm ppm | K 769.897 nm ppm | Li 670.783 nm ppm | Li 670.783 nm ppm | Mg 202.582 nm ppm | Mg 277.983 nm ppm | Mg 278.142 nm ppm | Mg 279.078 nm ppm | Mg 279.553 nm ppm | Mg 279.553 nm ppm | Mg 280.270 nm ppm | Mg 280.270 nm ppm | Mn 257.610 nm ppm | Mn 257.610 nm ppm | Mn 259.372 nm ppm | Mn 259.372 nm ppm | Na 330.298 nm ppm | Na 330.298 nm ppm | Na 589.592 nm ppm | Na 589.592 nm ppm | P 177.434 nm ppm | P 213.618 nm ppm | S 178.165 nm ppm | S 178.165 nm ppm | S 182.562 nm ppm | S 182.562 nm ppm | Sb 206.834 nm Ratio | Sc 361.383 nm Ratio | Sc 424.682 nm Ratio | Si 221.667 nm ppm | Si 251.611 nm ppm | Si 288.158 nm ppm | Sr 407.771 nm ppm | Sr 407.771 nm ppm | Sr 421.552 nm ppm | Sr 421.552 nm ppm | Sr 460.733 nm ppm | Sr 460.733 nm ppm
FALSE | 1:01 | Acid Blank | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FALSE | 1:02 | STD 0% | [7 empty] | 1 | [14 empty] | 1 | 1 | [18 empty] | 1331 | 1331 | 1331 | 1331 | [6 empty] | 1075.19 | 55137.09 | 1
FALSE | 1:03 | STD 1% | 0.03 | 0.03 | 0.03 | 0.05 | 0.05 | 0.05 | 0.05 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 1 | 1 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.01 | 0.01 | 0.01 | 0.01 | 1326 | 1326 | 1326 | 1326 | 0.01 | 0.01 |  |  |  |  | 1077.87 | 55120.21 | 1 | 0.03 | 0.03 | 0.03 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05
FALSE | 1:04 | STD 5% | 0.15 | 0.15 | 0.15 | 0.25 | 0.25 | 0.25 | 0.25 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 1 | 1 | 2 | 2 | 2 | 2 | 0.03 | 0.03 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 0.03 | 0.03 | 0.03 | 0.03 | 1306 | 1306 | 1306 | 1306 | 0.03 | 0.03 |  |  |  |  | 1081.67 | 55180.27 | 1 | 0.13 | 0.13 | 0.13 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25
FALSE | 1:05 | STD 10% | 0.3 | 0.3 | 0.3 | 0.5 | 0.5 | 0.5 | 0.5 | 1 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 1 | 1 | 4 | 4 | 4 | 4 | 0.05 | 0.05 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 0.05 | 0.05 | 0.05 | 0.05 | 1280 | 1280 | 1280 | 1280 | 0.05 | 0.05 |  |  |  |  | 1082.88 | 55166.47 | 1 | 0.25 | 0.25 | 0.25 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
FALSE | 1:06 | STD 25% | 0.75 | 0.75 | 0.75 | 1.25 | 1.25 | 1.25 | 1.25 | 1 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0.13 | 0.13 | 0.13 | 0.13 | 0.13 | 0.13 | 1 | 1 | 10 | 10 | 10 | 10 | 0.13 | 0.13 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 0.13 | 0.13 | 0.13 | 0.13 | 1204 | 1204 | 1204 | 1204 | 0.13 | 0.13 |  |  |  |  | 1089.03 | 55174.21 | 1 | 0.63 | 0.63 | 0.63 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25
FALSE | 1:07 | STD 50% | 1.5 | 1.5 | 1.5 | 2.5 | 2.5 | 2.5 | 2.5 | 1 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 1 | 1 | 20 | 20 | 20 | 20 | 0.25 | 0.25 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 0.25 | 0.25 | 0.25 | 0.25 | 1078 | 1078 | 1078 | 1078 | 0.25 | 0.25 |  |  |  |  | 1084.46 | 55566.57 | 1 | 1.25 | 1.25 | 1.25 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
FALSE | 1:08 | STD 75% | 2.25 | 2.25 | 2.25 | 3.75 | 3.75 | 3.75 | 3.75 | 1 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 1 | 1 | 30 | 30 | 30 | 30 | 0.38 | 0.38 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 0.38 | 0.38 | 0.38 | 0.38 | 951 | 951 | 951 | 951 | 0.38 | 0.38 |  |  |  |  | 1088.34 | 55965.43 | 1 | 1.88 | 1.88 | 1.88 | 3.75 | 3.75 | 3.75 | 3.75 | 3.75 | 3.75
FALSE | 1:09 | STD 100% | 3 | 3 | 3 | 5 | 5 | 5 | 5 | 1 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 1 | 1 | 40 | 40 | 40 | 40 | 0.5 | 0.5 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 0.5 | 0.5 | 0.5 | 0.5 | 825 | 825 | 825 | 825 | 0.5 | 0.5 |  |  |  |  | 1086.78 | 56221.01 | 1 | 2.5 | 2.5 | 2.5 | 5 | 5 | 5 | 5 | 5 | 5
FALSE | 1:10 | STD 200% | 6 | 6 | 6 | 10 | 10 | 10 | 10 | 1 | 81 | 81 | 81 | 81 | 81 | 81 | 81 | 81 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 80 | 80 | 80 | 80 | 1 | 1 | 254 | 254 | 254 | 254 | 254 | 254 | 254 | 254 | 1 | 1 | 1 | 1 | 1649 | 1649 | 1649 | 1649 | 1 | 1 |  |  |  |  | 1032.33 | 52619.86 | 1 | 5 | 5 | 5 | 10 | 10 | 10 | 10 | 10 | 10
FALSE | 1:11 | IAPSO 0% | [7 empty] | 1 | [14 empty] | 1 | 1 | [28 empty] | 1184.5 | 64175.79 | 1
FALSE | 1:12 | IAPSO 1% | 0 | 0 | 0 |  |  |  |  | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 1 | 1 | 0 | 0 | 0 | 0 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 11 | 11 | 11 | 11 |  |  | 1 | 1 | 1 | 1 | 1188.62 | 63934.59 | 1 |  |  |  | 0.01 | 0.0079 | 0.01 | 0.01 | 0.01 | 0.01
FALSE | 1:13 | IAPSO 5% | 0.02 | 0.02 | 0.02 |  |  |  |  | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | [6 empty] | 1 | 1 | 2 | 2 | 2 | 2 |  |  | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 |  |  |  |  | 54 | 54 | 54 | 54 |  |  | 5 | 5 | 5 | 5 | 1189.3 | 62830.43 | 1 |  |  |  | 0.04 | 0.0395 | 0.04 | 0.04 | 0.04 | 0.04
FALSE | 1:14 | IAPSO 10% | 0.05 | 0.05 | 0.05 |  |  |  |  | 1 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | [6 empty] | 1 | 1 | 4 | 4 | 4 | 4 |  |  | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 |  |  |  |  | 108 | 108 | 108 | 108 |  |  | 9 | 9 | 9 | 9 | 1193.95 | 62390.96 | 1 |  |  |  | 0.08 | 0.0789 | 0.08 | 0.08 | 0.08 | 0.08
FALSE | 1:15 | IAPSO 25% | 0.11 | 0.11 | 0.11 |  |  |  |  | 1 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | [6 empty] | 1 | 1 | 10 | 10 | 10 | 10 |  |  | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 |  |  |  |  | 269 | 269 | 269 | 269 |  |  | 23 | 23 | 23 | 23 | 1170.14 | 60656.54 | 1 |  |  |  | 0.2 | 0.1973 | 0.2 | 0.2 | 0.2 | 0.2
FALSE | 1:16 | IAPSO 50% | 0.23 | 0.23 | 0.23 |  |  |  |  | 1 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | [6 empty] | 1 | 1 | 20 | 20 | 20 | 20 |  |  | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 |  |  |  |  | 538 | 538 | 538 | 538 |  |  | 45 | 45 | 45 | 45 | 1140.41 | 58501.26 | 1 |  |  |  | 0.39 | 0.3945 | 0.39 | 0.39 | 0.39 | 0.39
FALSE | 1:17 | IAPSO 75% | 0.34 | 0.34 | 0.34 |  |  |  |  | 1 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | [6 empty] | 1 | 1 | 30 | 30 | 30 | 30 |  |  | 97 | 97 | 97 | 97 | 97 | 97 | 97 | 97 |  |  |  |  | 807 | 807 | 807 | 807 |  |  | 68 | 68 | 68 | 68 | 1120.9 | 56942.06 | 1 |  |  |  | 0.59 | 0.5918 | 0.59 | 0.59 | 0.59 | 0.59
FALSE | 1:18 | IAPSO 100% | 0.45 | 0.45 | 0.45 |  |  |  |  | 1 | 41 | 41 | 41 | 41 | 41 | 41 | 41 | 41 | [6 empty] | 1 | 1 | 40 | 40 | 40 | 40 |  |  | 129 | 129 | 129 | 129 | 129 | 129 | 129 | 129 |  |  |  |  | 1076 | 1076 | 1076 | 1076 |  |  | 90 | 90 | 90 | 90 | 1095.23 | 55448.58 | 1 |  |  |  | 0.79 | 0.789 | 0.79 | 0.79 | 0.79 | 0.79
FALSE | 2:01 | IAPSO DRIFT-1 | 4.45 | 4.52 | 4.49 | -0.51 | -0.79 | -1.01 | -0.09 | 1 | 407 | 414 | 409 | 405 | 410 | 411 | 402 | 402 | -0.08 | -0.08 | -0.09 | -0.09 | -0.09 | -0.09 | 1 | 1 | 389 | 407 | 400 | 387 | 0.16 | 0.11 | 1306 | 1299 | 1302 | 1296 |  | 1263 | 1260 | 1308 | -0.09 | -0.09 | -0.1 | -0.08 | 10707 | 10734 | 10385 |  | -0.04 | -0.03 | 895 | 896 | 908 | 903 | 1098.52 | 55812.12 | 1 | 0.8 | 0.83 | 0.81 | 7.68 | 7.9216 | 7.76 | 7.81 | 7.87 | 8.03
FALSE | 2:02 | LIQ9375101 | 4.37 | 4.32 | 4.31 | -0.64 | -0.93 | -1.16 | -0.22 | 1 | 410 | 413 | 412 | 406 | 413 | 411 | 404 | 399 | -0.1 | -0.1 | -0.07 | -0.07 | -0.12 | -0.11 | 1 | 1 | 394 | 405 | 401 | 392 | 0.19 | 0.11 | 1297 | 1291 | 1290 | 1288 |  | 1247 | 1273 | 1292 | 0.14 | 0.14 | 0.12 | 0.14 | 10788 | 10656 | 10454 |  | 0.04 | 0.01 | 881 | 879 | 903 | 898 | 1094.23 | 56187.43 | 1 | 5.02 | 4.91 | 4.88 | 7.85 | 8.0054 | 7.93 | 7.88 | 7.87 | 7.98
FALSE | 2:03 | LIQ9373861 | 5.24 | 5.25 | 5.31 | -0.63 | -0.91 | -1.14 | -0.21 | 1 | 429 | 432 | 431 | 425 | 430 | 431 | 420 | 420 | -0.09 | -0.09 | -0.08 | -0.08 | -0.11 | -0.1 | 1 | 1 | 422 | 440 | 434 | 421 | 0.15 | 0.17 | 1233 | 1225 | 1221 | 1219 |  | 1228 | 1207 | 1251 | 3.34 | 3.34 | 3.37 | 3.38 | 10538 | 10528 | 10168 |  | 0.45 | 0.46 | 850 | 842 | 849 | 846 | 1115.96 | 56837.2 | 1 | 16.72 | 16.86 | 16.97 | 7.71 | 7.9578 | 7.76 | 7.83 | 7.79 | 7.9
FALSE | 2:04 | LIQ9374331 | 5.77 | 5.74 | 5.78 | -0.56 | -0.84 | -1.07 | -0.14 | 1 | 437 | 444 | 441 | 438 | 440 | 442 | 432 | 429 | -0.05 | -0.04 | -0.05 | -0.05 | -0.07 | -0.07 | 1 | 1 | 390 | 406 | 398 | 391 | 0.15 | 0.18 | 1231 | 1222 | 1223 | 1218 |  | 1211 | 1204 | 1242 | 6.74 | 6.74 | 6.73 | 6.73 | 10491 | 10459 | 10164 |  | 0.46 | 0.41 | 767 | 763 | 764 | 764 | 1115.48 | 57169.5 | 1 | 18.97 | 19.14 | 19.08 | 7.71 | 7.9489 | 7.77 | 7.85 | 7.82 | 7.96
FALSE | 2:05 | LIQ9374821 | 5.92 | 5.95 | 5.97 | -0.24 | -0.51 | -0.73 | 0.17 | 1 | 433 | 441 | 435 | 428 | 435 | 438 | 424 | 423 | -0.08 | -0.08 | -0.1 | -0.09 | -0.09 | -0.09 | 1 | 1 | 391 | 408 | 402 | 390 | 0.13 | 0.17 | 1184 | 1179 | 1181 | 1171 |  | 1135 | 1158 | 1168 | 2.14 | 2.14 | 2.12 | 2.14 | 10552 | 10491 | 10233 |  | 0.46 | 0.4 | 621 | 621 | 621 | 624 | 1116.44 | 57068.89 | 1 | 24.29 | 23.9 | 23.93 | 7.52 | 7.7321 | 7.57 | 7.6 | 7.55 | 7.74
FALSE | 2:06 | LIQ9375451 | 6.34 | 6.38 | 6.42 | -0.58 | -0.86 | -1.09 | -0.16 | 1 | 427 | 433 | 430 | 427 | 430 | 433 | 421 | 419 | -0.09 | -0.09 | -0.09 | -0.09 | -0.11 | -0.11 | 1 | 1 | 362 | 386 | 375 | 362 | 0.11 | 0.18 | 1138 | 1134 | 1130 | 1123 |  | 1129 | 1116 | 1144 | 1.98 | 1.98 | 1.96 | 1.97 | 10560 | 10470 | 10178 |  | 0.7 | 0.76 | 520 | 517 | 519 | 523 | 1126.56 | 57172.12 | 1 | 22.28 | 22.32 | 22.27 | 7.35 | 7.5478 | 7.4 | 7.45 | 7.43 | 7.58
FALSE | 2:07 | LIQ9376491 | 5.93 | 6.03 | 6.03 | -0.55 | -0.83 | -1.06 | -0.14 | 1 | 379 | 386 | 381 | 375 | 381 | 384 | 372 | 372 | -0.05 | -0.05 | -0.04 | -0.04 | -0.07 | -0.06 | 1 | 1 | 363 | 387 | 376 | 364 | 0.15 | 0.28 | 1053 | 1055 | 1046 | 1043 |  | 1132 | 1029 | 1091 | 2.89 | 2.89 | 2.87 | 2.88 | 10435 | 10417 | 10053 |  | 0.37 | 0.34 | 271 | 259 | 261 | 265 | 1111.45 | 57362.74 | 1 | 21.06 | 21.3 | 21.3 | 7.13 | 7.3368 | 7.16 | 7.22 | 7.26 | 7.34
FALSE | 2:08 | LIQ9377651 | 6.75 | 6.8 | 6.79 | -0.56 | -0.83 | -1.06 | -0.14 | 1 | 364 | 368 | 369 | 359 | 365 | 365 | 356 | 355 | 0.03 | 0.03 | 0.02 | 0.02 | 0.02 | 0.02 | 1 | 1 | 342 | 365 | 353 | 341 | 0.16 | 0.23 | 1039 | 1033 | 1033 | 1021 |  | 1048 | 1014 | 1041 | 2.65 | 2.65 | 2.63 | 2.64 | 10465 | 10434 | 10185 |  | 0.37 | 0.35 | 222 | 216 | 220 | 223 | 1116.82 | 57877.75 | 1 | 24.03 | 24.1 | 24.09 | 7.24 | 7.4713 | 7.3 | 7.3 | 7.33 | 7.47
FALSE | 2:09 | LIQ9378201 | 6.13 | 6.19 | 6.21 | -0.55 | -0.83 | -1.06 | -0.14 | 1 | 340 | 346 | 342 | 335 | 341 | 342 | 332 | 334 | 0.11 | 0.11 | 0.12 | 0.13 | 0.09 | 0.09 | 1 | 1 | 354 | 381 | 368 | 355 | 0.17 | 0.3 | 1021 | 1019 | 1020 | 1008 |  | 1018 | 999 | 1016 | 1.9 | 1.9 | 1.89 | 1.9 | 10484 | 10491 | 10161 |  | 0.24 | 0.21 | 175 | 170 | 174 | 177 | 1121.41 | 57815.79 | 1 | 29.59 | 29.54 | 29.62 | 7.34 | 7.5925 | 7.37 | 7.44 | 7.47 | 7.5
FALSE | 2:10 | IAPSO DRIFT-2 | 4.48 | 4.5 | 4.51 | -0.5 | -0.78 | -1.01 | -0.09 | 1 | 407 | 415 | 412 | 404 | 409 | 414 | 401 | 402 | -0.08 | -0.08 | -0.1 | -0.09 | -0.1 | -0.09 | 1 | 1 | 388 | 407 | 401 | 391 | 0.16 | 0.29 | 1298 | 1299 | 1301 | 1295 |  | 1360 | 1273 | 1357 | -0.09 | -0.09 | -0.1 | -0.08 | 10694 | 10685 | 10390 |  | -0.03 | 0 | 896 | 889 | 902 | 897 | 1097.58 | 55747.97 | 1 | 0.78 | 0.8 | 0.82 | 7.72 | 7.9251 | 7.78 | 7.85 | 7.94 | 8.01
FALSE | 2:11 | LIQ9378731 | 6.66 | 6.69 | 6.72 | -0.53 | -0.81 | -1.04 | -0.11 | 1 | 324 | 327 | 326 | 317 | 324 | 324 | 315 | 317 | 0.16 | 0.16 | 0.16 | 0.16 | 0.15 | 0.15 | 1 | 1 | 338 | 361 | 350 | 338 | 0.2 | 0.3 | 1010 | 1007 | 1004 | 997 |  | 1087 | 995 | 1038 | 1.46 | 1.46 | 1.45 | 1.47 | 10567 | 10429 | 10238 |  | 0.17 | 0.22 | 137 | 136 | 135 | 136 | 1110.16 | 57725.79 | 1 | 25.63 | 25.7 | 25.8 | 7.55 | 7.8152 | 7.67 | 7.7 | 7.63 | 7.87
FALSE | 2:12 | LIQ9379161 | 5.99 | 6.1 | 6.15 | -0.53 | -0.8 | -1.02 | -0.1 | 1 | 311 | 311 | 311 | 302 | 311 | 311 | 303 | 303 | -0.07 | -0.06 | -0.08 | -0.08 | -0.07 | -0.07 | 1 | 1 | 327 | 353 | 341 | 327 | 0.22 | 0.34 | 1004 | 997 | 997 | 988 |  | 993 | 988 | 989 | 1.06 | 1.06 | 1.05 | 1.06 | 10479 | 10440 | 10131 |  | 0.21 | 0.24 | 96 | 93 | 108 | 109 | 1117.13 | 57621.56 | 1 | 20.17 | 20.15 | 20.12 | 7.85 | 8.0789 | 7.92 | 7.99 | 7.93 | 8.03
FALSE | 2:13 | LIQ9381721 | 6.9 | 6.95 | 7 | 1.8 | 1.55 | 1.39 | 2.16 | 1 | 296 | 297 | 299 | 289 | 297 | 294 | 290 | 289 | 0.12 | 0.12 | 0.13 | 0.13 | 0.11 | 0.11 | 1 | 1 | 285 | 312 | 300 | 285 | 0.3 | 0.35 | 957 | 941 | 952 | 932 |  | 1039 | 938 | 976 | 0.97 | 0.97 | 0.95 | 0.97 | 10614 | 10505 | 10338 |  | 0.26 | 0.25 | 20 | 8 | 21 | 18 | 1112.12 | 57898.97 | 1 | 27.48 | 27.47 | 27.53 | 13.85 | 14.0743 | 13.92 | 14.44 | 13.86 | 13.97
FALSE | 2:14 | LIQ9382921 | 0.76 | 0.76 | 0.76 | 1.59 | 1.59 | 1.61 | 1.59 | 1 | 29 | 29 | 29 | 28 | 29 | 29 | 28 | 28 | 0 | 0 | -0.01 | -0.01 | -0.01 | -0.01 | 1 | 1 | 25 | 28 | 26 | 25 | 0.04 | 0.05 | 90 | 89 | 89 | 88 |  | 92 | 89 | 89 | 0.03 | 0.03 | 0.03 | 0.03 | 1036 | 1029 | 1006 |  | 0.02 | 0.02 | 1 | 0 | 0 | 0 | 1091.58 | 57102.74 | 1 | 2.86 | 2.86 | 2.86 | 1.55 | 1.5621 | 1.53 | 1.61 | 1.53 | 1.56
FALSE | 2:15 | LIQ9380121 | 0.69 | 0.7 | 0.71 | -0.03 | -0.06 | -0.08 | 0.01 | 1 | 29 | 29 | 29 | 28 | 29 | 29 | 29 | 29 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01 | 0.01 | 1 | 1 | 30 | 33 | 31 | 30 | 0.03 | 0.03 | 97 | 96 | 97 | 95 |  | 101 | 96 | 99 | 0.09 | 0.09 | 0.09 | 0.09 | 1057 | 1051 | 1024 |  | 0.02 | 0.03 | 4 | 5 | 5 | 4 | 1102.17 | 57744.51 | 1 | 2.66 | 2.64 | 2.65 | 0.96 | 0.9804 | 0.96 | 0.99 | 0.97 | 0.98

## Condition Set and Element List
Label (Wavelength nm) | Type | Background Correction | Number of Pixels | Condition Set | Element | Wavelength (nm) | Label | Type | Internal Standard (Wavelength nm)
B (208.956 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | B | 208.956 | B | Analyte | None
B (249.678 nm) | Analyte | Off-Peak Left | 2 | 1 | B | 249.678 | B | Analyte | None
B (249.772 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | B | 249.772 | B | Analyte | None
Ba (230.424 nm) | Analyte | Off-Peak Right | 2 | 2 | Ba | 230.424 | Ba | Analyte | None
Ba (230.424 nm) | Analyte | Off-Peak Right | 2 | 1 | Ba | 230.424 | Ba | Analyte | None
Ba (455.403 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Ba | 455.403 | Ba | Analyte | None
Ba (455.403 nm) | Analyte | Off-Peak Left+Right | 2 | 2 | Ba | 455.403 | Ba | Analyte | None
Be (313.042 nm) | Internal Standard | Off-Peak Left+Right | 2 | 1 | Be | 313.042 | Be | Internal Standard | None
Ca (315.887 nm) | Analyte | Off-Peak Right | 2 | 1 | Ca | 315.887 | Ca | Analyte | None
Ca (315.887 nm) | Analyte | Off-Peak Left+Right | 2 | 2 | Ca | 315.887 | Ca | Analyte | None
Ca (317.933 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Ca | 317.933 | Ca | Analyte | None
Ca (317.933 nm) | Analyte | Off-Peak Left+Right | 2 | 2 | Ca | 317.933 | Ca | Analyte | None
Ca (318.127 nm) | Analyte | Off-Peak Left | 2 | 2 | Ca | 318.127 | Ca | Analyte | None
Ca (318.127 nm) | Analyte | Off-Peak Left | 2 | 1 | Ca | 318.127 | Ca | Analyte | None
Ca (431.865 nm) | Analyte | Off-Peak Right | 2 | 2 | Ca | 431.865 | Ca | Analyte | None
Ca (431.865 nm) | Analyte | Off-Peak Right | 2 | 1 | Ca | 431.865 | Ca | Analyte | None
Fe (238.204 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Fe | 238.204 | Fe | Analyte | None
Fe (238.204 nm) | Analyte | Off-Peak Right | 2 | 1 | Fe | 238.204 | Fe | Analyte | None
Fe (239.563 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Fe | 239.563 | Fe | Analyte | None
Fe (239.563 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Fe | 239.563 | Fe | Analyte | None
Fe (259.940 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Fe | 259.94 | Fe | Analyte | None
Fe (259.940 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Fe | 259.94 | Fe | Analyte | None
In (230.606 nm) | Internal Standard | Off-Peak Left+Right | 2 | 2 | In | 230.606 | In | Internal Standard | None
In (325.609 nm) | Internal Standard | Off-Peak Left+Right | 2 | 1 | In | 325.609 | In | Internal Standard | None
K (766.491 nm) | Analyte | Off-Peak Left+Right | 2 | 2 | K | 766.491 | K | Analyte | None
K (766.491 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | K | 766.491 | K | Analyte | None
K (769.897 nm) | Analyte | Off-Peak Right | 2 | 1 | K | 769.897 | K | Analyte | None
K (769.897 nm) | Analyte | Off-Peak Right | 2 | 2 | K | 769.897 | K | Analyte | None
Li (670.783 nm) | Analyte | Off-Peak Left | 2 | 2 | Li | 670.783 | Li | Analyte | None
Li (670.783 nm) | Analyte | Off-Peak Left | 2 | 1 | Li | 670.783 | Li | Analyte | None
Mg (202.582 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Mg | 202.582 | Mg | Analyte | None
Mg (277.983 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Mg | 277.983 | Mg | Analyte | None
Mg (278.142 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Mg | 278.142 | Mg | Analyte | None
Mg (279.078 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Mg | 279.078 | Mg | Analyte | None
Mg (279.553 nm) | Analyte | Off-Peak Left+Right | 2 | 2 | Mg | 279.553 | Mg | Analyte | None
Mg (279.553 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Mg | 279.553 | Mg | Analyte | None
Mg (280.270 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Mg | 280.27 | Mg | Analyte | None
Mg (280.270 nm) | Analyte | Off-Peak Left+Right | 2 | 2 | Mg | 280.27 | Mg | Analyte | None
Mn (257.610 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Mn | 257.61 | Mn | Analyte | None
Mn (257.610 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Mn | 257.61 | Mn | Analyte | None
Mn (259.372 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Mn | 259.372 | Mn | Analyte | None
Mn (259.372 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Mn | 259.372 | Mn | Analyte | None
Na (330.298 nm) | Analyte | Off-Peak Right | 2 | 1 | Na | 330.298 | Na | Analyte | None
Na (330.298 nm) | Analyte | Off-Peak Left+Right | 2 | 2 | Na | 330.298 | Na | Analyte | None
Na (589.592 nm) | Analyte | Off-Peak Left+Right | 2 | 2 | Na | 589.592 | Na | Analyte | None
Na (589.592 nm) | Analyte | Fitted | 2 | 1 | Na | 589.592 | Na | Analyte | None
P (177.434 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | P | 177.434 | P | Analyte | None
P (213.618 nm) | Analyte | Off-Peak Right | 2 | 1 | P | 213.618 | P | Analyte | None
S (178.165 nm) | Analyte | Off-Peak Right | 2 | 1 | S | 178.165 | S | Analyte | None
S (178.165 nm) | Analyte | Off-Peak Right | 2 | 1 | S | 178.165 | S | Analyte | None
S (182.562 nm) | Analyte | Off-Peak Left | 2 | 1 | S | 182.562 | S | Analyte | None
S (182.562 nm) | Analyte | Off-Peak Left | 2 | 1 | S | 182.562 | S | Analyte | None
Sb (206.834 nm) | Internal Standard | Off-Peak Left+Right | 2 | 1 | Sb | 206.834 | Sb | Internal Standard | None
Sc (361.383 nm) | Internal Standard | Off-Peak Left+Right | 2 | 1 | Sc | 361.383 | Sc | Internal Standard | None
Sc (424.682 nm) | Internal Standard | Off-Peak Left+Right | 2 | 2 | Sc | 424.682 | Sc | Internal Standard | None
Si (221.667 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Si | 221.667 | Si | Analyte | None
Si (251.611 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Si | 251.611 | Si | Analyte | None
Si (288.158 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Si | 288.158 | Si | Analyte | None
Sr (407.771 nm) | Analyte | Off-Peak Left+Right | 2 | 2 | Sr | 407.771 | Sr | Analyte | None
Sr (407.771 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Sr | 407.771 | Sr | Analyte | None
Sr (421.552 nm) | Analyte | Off-Peak Left+Right | 2 | 2 | Sr | 421.552 | Sr | Analyte | None
Sr (421.552 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Sr | 421.552 | Sr | Analyte | None
Sr (460.733 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Sr | 460.733 | Sr | Analyte | None
Sr (460.733 nm) | Analyte | Off-Peak Left+Right | 2 | 2 | Sr | 460.733 | Sr | Analyte | None