## Data
| Rack:Tube | Solution Label | B 208.956 nm ppm | B 249.678 nm ppm | B 249.772 nm ppm | Ba 230.424 nm ppm | Ba 230.424 nm ppm | Ba 455.403 nm ppm | Ba 455.403 nm ppm | Be 313.042 nm Ratio | Ca 315.887 nm ppm | Ca 315.887 nm ppm | Ca 317.933 nm ppm | Ca 317.933 nm ppm | Ca 318.127 nm ppm | Ca 318.127 nm ppm | Ca 431.865 nm ppm | Ca 431.865 nm ppm | Fe 238.204 nm ppm | Fe 238.204 nm ppm | Fe 239.563 nm ppm | Fe 239.563 nm ppm | Fe 259.940 nm ppm | Fe 259.940 nm ppm | In 230.606 nm Ratio | In 325.609 nm Ratio | K 766.491 nm ppm | K 766.491 nm ppm | K 769.897 nm ppm | K 769.897 nm ppm | Li 670.783 nm ppm | Li 670.783 nm ppm | Mg 202.582 nm ppm | Mg 277.983 nm ppm | Mg 278.142 nm ppm | Mg 279.078 nm ppm | Mg 279.553 nm ppm | Mg 279.553 nm ppm | Mg 280.270 nm ppm | Mg 280.270 nm ppm | Mn 257.610 nm ppm | Mn 257.610 nm ppm | Mn 259.372 nm ppm | Mn 259.372 nm ppm | Na 330.298 nm ppm | Na 330.298 nm ppm | Na 589.592 nm ppm | Na 589.592 nm ppm | P 177.434 nm ppm | P 213.618 nm ppm | S 178.165 nm ppm | S 178.165 nm ppm | S 182.562 nm ppm | S 182.562 nm ppm | Sb 206.834 nm Ratio | Sc 361.383 nm Ratio | Sc 424.682 nm Ratio | Si 221.667 nm ppm | Si 251.611 nm ppm | Si 288.158 nm ppm | Sr 407.771 nm ppm | Sr 407.771 nm ppm | Sr 421.552 nm ppm | Sr 421.552 nm ppm | Sr 460.733 nm ppm | Sr 460.733 nm ppm
FALSE | 1:01 | Acid Blank | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FALSE | 1:02 | STD 0% | [7 empty] | 0.85 | [14 empty] | 0.87 | 1.04 | [18 empty] | 1331 | 1331 | 1331 | 1331 | [6 empty] | 0.89 | 0.86 | 0.92
FALSE | 1:03 | STD 1% | 0.03 | 0.03 | 0.03 | 0.05 | 0.05 | 0.05 | 0.05 | 0.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.87 | 1.03 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.01 | 0.01 | 0.01 | 0.01 | 1326 | 1326 | 1326 | 1326 | 0.01 | 0.01 |  |  |  |  | 0.89 | 0.85 | 0.93 | 0.03 | 0.03 | 0.03 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05
FALSE | 1:04 | STD 5% | 0.15 | 0.15 | 0.15 | 0.25 | 0.25 | 0.25 | 0.25 | 0.85 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.87 | 1.04 | 2 | 2 | 2 | 2 | 0.03 | 0.03 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 0.03 | 0.03 | 0.03 | 0.03 | 1306 | 1306 | 1306 | 1306 | 0.03 | 0.03 |  |  |  |  | 0.89 | 0.86 | 0.93 | 0.13 | 0.13 | 0.13 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25
FALSE | 1:05 | STD 10% | 0.3 | 0.3 | 0.3 | 0.5 | 0.5 | 0.5 | 0.5 | 0.85 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.87 | 1.04 | 4 | 4 | 4 | 4 | 0.05 | 0.05 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 0.05 | 0.05 | 0.05 | 0.05 | 1280 | 1280 | 1280 | 1280 | 0.05 | 0.05 |  |  |  |  | 0.9 | 0.86 | 0.94 | 0.25 | 0.25 | 0.25 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
FALSE | 1:06 | STD 25% | 0.75 | 0.75 | 0.75 | 1.25 | 1.25 | 1.25 | 1.25 | 0.87 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0.13 | 0.13 | 0.13 | 0.13 | 0.13 | 0.13 | 0.89 | 1.07 | 10 | 10 | 10 | 10 | 0.13 | 0.13 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 0.13 | 0.13 | 0.13 | 0.13 | 1204 | 1204 | 1204 | 1204 | 0.13 | 0.13 |  |  |  |  | 0.91 | 0.87 | 0.94 | 0.63 | 0.63 | 0.63 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25
FALSE | 1:07 | STD 50% | 1.5 | 1.5 | 1.5 | 2.5 | 2.5 | 2.5 | 2.5 | 0.87 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.87 | 1.05 | 20 | 20 | 20 | 20 | 0.25 | 0.25 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 0.25 | 0.25 | 0.25 | 0.25 | 1078 | 1078 | 1078 | 1078 | 0.25 | 0.25 |  |  |  |  | 0.89 | 0.87 | 0.94 | 1.25 | 1.25 | 1.25 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
FALSE | 1:08 | STD 75% | 2.25 | 2.25 | 2.25 | 3.75 | 3.75 | 3.75 | 3.75 | 0.86 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.87 | 1.05 | 30 | 30 | 30 | 30 | 0.38 | 0.38 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 0.38 | 0.38 | 0.38 | 0.38 | 951 | 951 | 951 | 951 | 0.38 | 0.38 |  |  |  |  | 0.9 | 0.87 | 0.95 | 1.88 | 1.88 | 1.88 | 3.75 | 3.75 | 3.75 | 3.75 | 3.75 | 3.75
FALSE | 1:09 | STD 100% | 3 | 3 | 3 | 5 | 5 | 5 | 5 | 0.87 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.87 | 1.06 | 40 | 40 | 40 | 40 | 0.5 | 0.5 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 0.5 | 0.5 | 0.5 | 0.5 | 825 | 825 | 825 | 825 | 0.5 | 0.5 |  |  |  |  | 0.9 | 0.88 | 0.95 | 2.5 | 2.5 | 2.5 | 5 | 5 | 5 | 5 | 5 | 5
FALSE | 1:10 | STD 200% | 6 | 6 | 6 | 10 | 10 | 10 | 10 | 0.81 | 81 | 81 | 81 | 81 | 81 | 81 | 81 | 81 | 1 | 1 | 1 | 1 | 1 | 1 | 0.84 | 1.04 | 80 | 80 | 80 | 80 | 1 | 1 | 254 | 254 | 254 | 254 | 254 | 254 | 254 | 254 | 1 | 1 | 1 | 1 | 1649 | 1649 | 1649 | 1649 | 1 | 1 |  |  |  |  | 0.86 | 0.82 | 0.93 | 5 | 5 | 5 | 10 | 10 | 10 | 10 | 10 | 10
FALSE | 1:11 | IAPSO 0% | [7 empty] | 1 | [14 empty] | 0.99 | 1 | [28 empty] | 0.99 | 1 | 1
FALSE | 1:12 | IAPSO 1% | 0 | 0 | 0 |  |  |  |  | 0.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0.99 | 1.02 | 0 | 0 | 0 | 0 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 11 | 11 | 11 | 11 |  |  | 1 | 1 | 1 | 1 | 0.99 | 0.99 | 1 |  |  |  | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01
FALSE | 1:13 | IAPSO 5% | 0.02 | 0.02 | 0.02 |  |  |  |  | 0.97 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | [6 empty] | 0.97 | 1.04 | 2 | 2 | 2 | 2 |  |  | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 |  |  |  |  | 54 | 54 | 54 | 54 |  |  | 5 | 5 | 5 | 5 | 0.99 | 0.98 | 1.01 |  |  |  | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04
FALSE | 1:14 | IAPSO 10% | 0.05 | 0.05 | 0.05 |  |  |  |  | 0.97 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | [6 empty] | 0.95 | 1.06 | 4 | 4 | 4 | 4 |  |  | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 |  |  |  |  | 108 | 108 | 108 | 108 |  |  | 9 | 9 | 9 | 9 | 0.99 | 0.97 | 0.99 |  |  |  | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08
FALSE | 1:15 | IAPSO 25% | 0.11 | 0.11 | 0.11 |  |  |  |  | 0.93 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | [6 empty] | 0.94 | 1.08 | 10 | 10 | 10 | 10 |  |  | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 |  |  |  |  | 269 | 269 | 269 | 269 |  |  | 23 | 23 | 23 | 23 | 0.97 | 0.94 | 0.98 |  |  |  | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2
FALSE | 1:16 | IAPSO 50% | 0.23 | 0.23 | 0.23 |  |  |  |  | 0.91 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | [6 empty] | 0.92 | 1.09 | 20 | 20 | 20 | 20 |  |  | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 |  |  |  |  | 538 | 538 | 538 | 538 |  |  | 45 | 45 | 45 | 45 | 0.94 | 0.91 | 0.98 |  |  |  | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39
FALSE | 1:17 | IAPSO 75% | 0.34 | 0.34 | 0.34 |  |  |  |  | 0.88 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | [6 empty] | 0.91 | 1.08 | 30 | 30 | 30 | 30 |  |  | 97 | 97 | 97 | 97 | 97 | 97 | 97 | 97 |  |  |  |  | 807 | 807 | 807 | 807 |  |  | 68 | 68 | 68 | 68 | 0.93 | 0.89 | 0.96 |  |  |  | 0.59 | 0.59 | 0.59 | 0.59 | 0.59 | 0.59
FALSE | 1:18 | IAPSO 100% | 0.45 | 0.45 | 0.45 |  |  |  |  | 0.86 | 41 | 41 | 41 | 41 | 41 | 41 | 41 | 41 | [6 empty] | 0.9 | 1.07 | 40 | 40 | 40 | 40 |  |  | 129 | 129 | 129 | 129 | 129 | 129 | 129 | 129 |  |  |  |  | 1076 | 1076 | 1076 | 1076 |  |  | 90 | 90 | 90 | 90 | 0.92 | 0.87 | 0.95 |  |  |  | 0.79 | 0.79 | 0.79 | 0.79 | 0.79 | 0.79
FALSE | 2:01 | IAPSO DRIFT-1 | 4.53 | 4.49 | 4.44 | 0.25 | -0.3 | -0.83 | 0.52 | 0.85 | 394 | 401 | 394 | 399 | 395 | 399 | 386 | 389 | -0.02 | -0.01 | 0 | 0.01 | -0.05 | -0.04 | 0.89 | 1.07 | 382 | 403 | 393 | 375 | 0.19 | -0.93 | 1285 | 1267 | 1278 | 1243 | 1252 | 1249 | 1269 | 1266 | -0.01 | 0 | -0.01 | 0 | 10576 | 10393 | 10434 |  | 0 | 0.04 | 881 | 891 | 901 | 907 | 0.92 | 0.88 | 0.95 | 0.65 | 0.64 | 0.67 | 7.67 | 7.86 | 7.79 | 7.87 | 7.73 | 7.87
FALSE | 2:02 | LIQ9381721 | 6.98 | 7.01 | 7.03 | 2.47 | 1.99 | 1.54 | 2.68 | 0.88 | 282 | 282 | 282 | 285 | 281 | 281 | 276 | 274 | 0.18 | 0.19 | 0.17 | 0.18 | 0.16 | 0.17 | 0.89 | 1.07 | 281 | 302 | 290 | 271 | 0.31 | -0.77 | 908 | 892 | 891 | 890 | 927 | 961 | 929 | 932 | 0.97 | 0.97 | 0.96 | 0.97 | 10298 | 10035 | 10202 |  | 0.29 | 0.28 | 28 | 26 | 18 | 23 | 0.9 | 0.88 | 0.97 | 26.77 | 26.67 | 26.64 | 13.37 | 13.64 | 13.21 | 13.66 | 13.38 | 13.55
FALSE | 2:03 | LIQ9382921 | 7.65 | 7.64 | 7.7 | 15.69 | 15.8 | 15.63 | 15.52 | 0.89 | 280 | 282 | 282 | 283 | 278 | 280 | 272 | 273 | 0.03 | 0.04 | 0.05 | 0.06 | 0.01 | 0.02 | 0.9 | 1.08 | 254 | 279 | 267 | 239 | 0.41 | -0.84 | 875 | 862 | 858 | 850 | 884 | 848 | 880 | 860 | 0.35 | 0.36 | 0.35 | 0.36 | 10263 | 10106 | 10306 |  | 0.21 | 0.22 | -3 | 3 | 1 | 6 | 0.91 | 0.9 | 0.98 | 28.23 | 28 | 27.85 | 15.02 | 15.39 | 14.78 | 15.57 | 15.16 | 15.33
FALSE | 2:04 | LIQ9380121 | 6.92 | 6.96 | 6.94 | 0.54 | -0.01 | -0.52 | 0.8 | 0.89 | 278 | 280 | 278 | 278 | 277 | 280 | 270 | 272 | 0.21 | 0.21 | 0.18 | 0.19 | 0.18 | 0.19 | 0.9 | 1.07 | 291 | 316 | 304 | 283 | 0.28 | -1 | 923 | 904 | 906 | 903 | 936 | 930 | 939 | 930 | 0.93 | 0.93 | 0.93 | 0.93 | 10220 | 10045 | 10196 |  | 0.29 | 0.29 | 43 | 46 | 44 | 49 | 0.91 | 0.89 | 0.98 | 25.12 | 25.62 | 25.53 | 9.16 | 9.31 | 9.28 | 9.47 | 9.3 | 9.51
FALSE | 2:05 | LIQ9376491 | 5.92 | 5.98 | 5.95 | 0.31 | -0.26 | -0.78 | 0.57 | 0.87 | 362 | 368 | 362 | 371 | 361 | 365 | 353 | 355 | 0.02 | 0.03 | 0.04 | 0.05 | -0.01 | 0 | 0.9 | 1.09 | 351 | 372 | 362 | 338 | 0.16 | -1.42 | 1013 | 1006 | 1001 | 990 | 1013 | 972 | 1013 | 997 | 2.72 | 2.74 | 2.72 | 2.75 | 10048 | 9968 | 9968 |  | 0.37 | 0.44 | 251 | 263 | 260 | 268 | 0.92 | 0.89 | 0.97 | 20.79 | 20.45 | 20.43 | 6.96 | 7.21 | 7.09 | 7.11 | 6.83 | 7.17
FALSE | 2:06 | LIQ9377651 | 6.57 | 6.65 | 6.65 | 0.3 | -0.26 | -0.78 | 0.57 | 0.89 | 347 | 352 | 346 | 351 | 345 | 350 | 337 | 337 | 0.1 | 0.11 | 0.08 | 0.09 | 0.07 | 0.08 | 0.88 | 1.09 | 328 | 351 | 340 | 316 | 0.18 | -1.27 | 981 | 972 | 977 | 967 | 997 | 987 | 998 | 993 | 2.51 | 2.49 | 2.5 | 2.49 | 10033 | 9874 | 9936 |  | 0.42 | 0.42 | 198 | 217 | 214 | 222 | 0.92 | 0.89 | 0.97 | 23.33 | 22.9 | 22.92 | 7.17 | 7.33 | 7.16 | 7.16 | 6.98 | 7.23
FALSE | 2:07 | LIQ9375101 | 4.38 | 4.42 | 4.39 | 0.22 | -0.34 | -0.87 | 0.49 | 0.87 | 397 | 404 | 402 | 404 | 398 | 402 | 388 | 392 | -0.02 | -0.01 | 0 | 0.01 | -0.05 | -0.04 | 0.89 | 1.08 | 386 | 408 | 399 | 376 | 0.21 | -1.25 | 1270 | 1261 | 1257 | 1253 | 1254 | 1207 | 1269 | 1253 | 0.2 | 0.21 | 0.2 | 0.21 | 10548 | 10412 | 10491 |  | 0.09 | 0.08 | 882 | 888 | 897 | 909 | 0.92 | 0.88 | 0.96 | 4.74 | 4.76 | 4.74 | 7.85 | 8.04 | 8.02 | 7.99 | 7.84 | 7.95
FALSE | 2:08 | LIQ9374821 | 5.87 | 5.9 | 5.91 | 0.59 | 0.04 | -0.47 | 0.85 | 0.88 | 411 | 418 | 414 | 416 | 411 | 417 | 400 | 402 | -0.02 | -0.01 | -0.05 | -0.04 | -0.04 | -0.03 | 0.88 | 1.09 | 375 | 393 | 383 | 362 | 0.14 | -1.36 | 1124 | 1124 | 1114 | 1119 | 1120 | 1148 | 1133 | 1151 | 2.05 | 2.05 | 2.04 | 2.05 | 10050 | 9945 | 10008 |  | 0.44 | 0.42 | 614 | 618 | 610 | 622 | 0.93 | 0.89 | 0.97 | 23.24 | 23.01 | 23.03 | 7.42 | 7.63 | 7.44 | 7.48 | 7.37 | 7.44
FALSE | 2:09 | IAPSO DRIFT-2 | 4.54 | 4.53 | 4.55 | 0.27 | -0.3 | -0.83 | 0.52 | 0.86 | 398 | 403 | 400 | 402 | 399 | 402 | 387 | 390 | -0.02 | -0.02 | -0.02 | -0.01 | -0.05 | -0.04 | 0.9 | 1.08 | 385 | 404 | 395 | 376 | 0.19 | -1.04 | 1267 | 1275 | 1264 | 1265 | 1260 | 1242 | 1276 | 1274 | -0.01 | 0 | -0.01 | 0 | 10603 | 10411 | 10531 |  | -0.03 | 0.04 | 893 | 916 | 896 | 912 | 0.91 | 0.87 | 0.96 | 0.91 | 0.67 | 0.67 | 7.66 | 7.81 | 7.87 | 7.9 | 7.65 | 7.93
FALSE | 2:10 | LIQ9374331 | 5.81 | 5.88 | 5.86 | 0.3 | -0.26 | -0.78 | 0.56 | 0.86 | 427 | 436 | 429 | 430 | 429 | 432 | 415 | 418 | 0.01 | 0.02 | -0.01 | 0 | -0.01 | 0 | 0.86 | 1.07 | 383 | 402 | 393 | 376 | 0.17 | -1.09 | 1202 | 1193 | 1196 | 1190 | 1198 | 1287 | 1215 | 1254 | 6.5 | 6.48 | 6.52 | 6.53 | 10299 | 10170 | 10277 |  | 0.47 | 0.47 | 745 | 763 | 760 | 776 | 0.9 | 0.87 | 0.95 | 18.99 | 18.76 | 18.71 | 7.85 | 8.03 | 7.85 | 7.91 | 7.51 | 7.84
FALSE | 2:11 | LIQ9378731 | 6.7 | 6.75 | 6.75 | 0.33 | -0.23 | -0.76 | 0.59 | 0.87 | 309 | 312 | 308 | 312 | 308 | 309 | 299 | 302 | 0.22 | 0.23 | 0.22 | 0.23 | 0.2 | 0.21 | 0.89 | 1.08 | 326 | 351 | 340 | 317 | 0.22 | -1.09 | 968 | 956 | 957 | 943 | 976 | 1001 | 980 | 994 | 1.42 | 1.43 | 1.42 | 1.44 | 10226 | 9952 | 10110 |  | 0.18 | 0.29 | 118 | 119 | 133 | 141 | 0.91 | 0.88 | 0.97 | 25.26 | 24.91 | 24.88 | 7.37 | 7.62 | 7.5 | 7.54 | 7.3 | 7.57
FALSE | 2:12 | LIQ9379161 | 5.98 | 6.03 | 6.03 | 0.32 | -0.23 | -0.75 | 0.6 | 0.88 | 299 | 300 | 298 | 298 | 297 | 299 | 288 | 290 | 0.01 | 0.02 | 0.01 | 0.02 | -0.02 | 0 | 0.9 | 1.08 | 322 | 344 | 332 | 313 | 0.23 | -1.06 | 959 | 952 | 946 | 943 | 970 | 953 | 979 | 964 | 1.05 | 1.05 | 1.04 | 1.05 | 10231 | 10008 | 10170 |  | 0.26 | 0.27 | 98 | 106 | 106 | 112 | 0.91 | 0.89 | 0.98 | 19.44 | 19.36 | 19.39 | 7.64 | 7.81 | 7.81 | 7.81 | 7.89 | 7.91
FALSE | 2:13 | LIQ9373861 | 5.22 | 5.23 | 5.24 | 0.24 | -0.32 | -0.85 | 0.5 | 0.89 | 408 | 415 | 407 | 416 | 409 | 413 | 397 | 399 | -0.01 | 0 | -0.01 | 0 | -0.03 | -0.02 | 0.91 | 1.1 | 405 | 420 | 415 | 390 | 0.17 | -1.55 | 1167 | 1171 | 1161 | 1169 | 1166 | 1105 | 1182 | 1156 | 3.19 | 3.17 | 3.2 | 3.2 | 10099 | 9985 | 10021 |  | 0.47 | 0.48 | 824 | 842 | 827 | 846 | 0.92 | 0.89 | 0.97 | 16.47 | 16.31 | 16.24 | 7.45 | 7.67 | 7.62 | 7.7 | 7.42 | 7.65
FALSE | 2:14 | LIQ9378201 | 6.01 | 6.05 | 6.02 | 0.3 | -0.26 | -0.78 | 0.56 | 0.88 | 321 | 325 | 322 | 325 | 321 | 323 | 313 | 314 | 0.29 | 0.3 | 0.31 | 0.32 | 0.27 | 0.28 | 0.91 | 1.09 | 344 | 363 | 353 | 331 | 0.19 | -1.31 | 967 | 964 | 959 | 947 | 969 | 959 | 975 | 966 | 1.79 | 1.8 | 1.79 | 1.81 | 10132 | 9961 | 10138 |  | 0.26 | 0.28 | 164 | 160 | 172 | 179 | 0.92 | 0.9 | 0.98 | 28.08 | 28.28 | 28.25 | 7.13 | 7.28 | 7.2 | 7.2 | 7.26 | 7.33
FALSE | 2:15 | LIQ9375451 | 6.32 | 6.35 | 6.34 | 0.29 | -0.28 | -0.8 | 0.54 | 0.88 | 410 | 417 | 414 | 419 | 411 | 416 | 399 | 402 | -0.01 | 0 | -0.01 | -0.01 | -0.05 | -0.04 | 0.9 | 1.1 | 351 | 371 | 361 | 334 | 0.13 | -1.62 | 1091 | 1093 | 1083 | 1080 | 1091 | 1067 | 1109 | 1097 | 1.9 | 1.91 | 1.9 | 1.92 | 10134 | 9962 | 10092 |  | 0.67 | 0.74 | 514 | 534 | 511 | 524 | 0.93 | 0.89 | 0.97 | 21.64 | 21.5 | 21.49 | 7.23 | 7.43 | 7.43 | 7.41 | 7.25 | 7.34
FALSE | 2:16 | DRIFT-3 | 4.52 | 4.55 | 4.51 | 0.26 | -0.3 | -0.83 | 0.52 | 0.87 | 395 | 403 | 397 | 402 | 396 | 402 | 386 | 390 | -0.02 | -0.01 | 0 | 0.01 | -0.05 | -0.04 | 0.9 | 1.08 | 381 | 406 | 397 | 370 | 0.19 | -1.25 | 1266 | 1267 | 1271 | 1255 | 1248 | 1255 | 1267 | 1284 | -0.01 | 0 | -0.01 | 0 | 10513 | 10368 | 10448 |  | 0.02 | -0.01 | 889 | 920 | 895 | 905 | 0.92 | 0.88 | 0.96 | 0.6 | 0.72 | 0.66 | 7.6 | 7.84 | 7.88 | 7.91 | 7.46 | 7.87

## Condition Set and Element List
Label (Wavelength nm) | Type | Background Correction | Number of Pixels | Condition Set | Element | Wavelength (nm) | Label | Type | Internal Standard (Wavelength nm)
B (208.956 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | B | 208.956 | B | Analyte | Sb (206.834)
B (249.678 nm) | Analyte | Off-Peak Left | 2 | 1 | B | 249.678 | B | Analyte | Sb (206.834)
B (249.772 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | B | 249.772 | B | Analyte | Sb (206.834)
Ba (230.424 nm) | Analyte | Off-Peak Right | 2 | 2 | Ba | 230.424 | Ba | Analyte | Sb (206.834)
Ba (230.424 nm) | Analyte | Off-Peak Right | 2 | 1 | Ba | 230.424 | Ba | Analyte | Sb (206.834)
Ba (455.403 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Ba | 455.403 | Ba | Analyte | Sc (424.682)
Ba (455.403 nm) | Analyte | Off-Peak Left+Right | 2 | 2 | Ba | 455.403 | Ba | Analyte | Sc (361.383)
Be (313.042 nm) | Internal Standard | Off-Peak Left+Right | 2 | 1 | Be | 313.042 | Be | Internal Standard | None
Ca (315.887 nm) | Analyte | Off-Peak Right | 2 | 1 | Ca | 315.887 | Ca | Analyte | Sc (361.383)
Ca (315.887 nm) | Analyte | Off-Peak Left+Right | 2 | 2 | Ca | 315.887 | Ca | Analyte | Sc (361.383)
Ca (317.933 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Ca | 317.933 | Ca | Analyte | Sc (361.383)
Ca (317.933 nm) | Analyte | Off-Peak Left+Right | 2 | 2 | Ca | 317.933 | Ca | Analyte | Sc (361.383)
Ca (318.127 nm) | Analyte | Off-Peak Left | 2 | 2 | Ca | 318.127 | Ca | Analyte | Sc (361.383)
Ca (318.127 nm) | Analyte | Off-Peak Left | 2 | 1 | Ca | 318.127 | Ca | Analyte | Sc (361.383)
Ca (431.865 nm) | Analyte | Off-Peak Right | 2 | 2 | Ca | 431.865 | Ca | Analyte | Sc (361.383)
Ca (431.865 nm) | Analyte | Off-Peak Right | 2 | 1 | Ca | 431.865 | Ca | Analyte | Sc (361.383)
Fe (238.204 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Fe | 238.204 | Fe | Analyte | Be (313.042)
Fe (238.204 nm) | Analyte | Off-Peak Right | 2 | 1 | Fe | 238.204 | Fe | Analyte | Sc (361.383)
Fe (239.563 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Fe | 239.563 | Fe | Analyte | Be (313.042)
Fe (239.563 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Fe | 239.563 | Fe | Analyte | Sc (361.383)
Fe (259.940 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Fe | 259.94 | Fe | Analyte | Sc (361.383)
Fe (259.940 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Fe | 259.94 | Fe | Analyte | Be (313.042)
In (230.606 nm) | Internal Standard | Off-Peak Left+Right | 2 | 2 | In | 230.606 | In | Internal Standard | None
In (325.609 nm) | Internal Standard | Off-Peak Left+Right | 2 | 1 | In | 325.609 | In | Internal Standard | None
K (766.491 nm) | Analyte | Off-Peak Left+Right | 2 | 2 | K | 766.491 | K | Analyte | In (325.609)
K (766.491 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | K | 766.491 | K | Analyte | In (325.609)
K (769.897 nm) | Analyte | Off-Peak Right | 2 | 1 | K | 769.897 | K | Analyte | In (325.609)
K (769.897 nm) | Analyte | Off-Peak Right | 2 | 2 | K | 769.897 | K | Analyte | In (325.609)
Li (670.783 nm) | Analyte | Off-Peak Left | 2 | 2 | Li | 670.783 | Li | Analyte | In (325.609)
Li (670.783 nm) | Analyte | Off-Peak Left | 2 | 1 | Li | 670.783 | Li | Analyte | In (325.609)
Mg (202.582 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Mg | 202.582 | Mg | Analyte | Be (313.042)
Mg (277.983 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Mg | 277.983 | Mg | Analyte | Be (313.042)
Mg (278.142 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Mg | 278.142 | Mg | Analyte | Be (313.042)
Mg (279.078 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Mg | 279.078 | Mg | Analyte | Sc (361.383)
Mg (279.553 nm) | Analyte | Off-Peak Left+Right | 2 | 2 | Mg | 279.553 | Mg | Analyte | Sc (361.383)
Mg (279.553 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Mg | 279.553 | Mg | Analyte | Sc (361.383)
Mg (280.270 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Mg | 280.27 | Mg | Analyte | Sc (361.383)
Mg (280.270 nm) | Analyte | Off-Peak Left+Right | 2 | 2 | Mg | 280.27 | Mg | Analyte | Sc (361.383)
Mn (257.610 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Mn | 257.61 | Mn | Analyte | Sc (361.383)
Mn (257.610 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Mn | 257.61 | Mn | Analyte | Be (313.042)
Mn (259.372 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Mn | 259.372 | Mn | Analyte | Be (313.042)
Mn (259.372 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Mn | 259.372 | Mn | Analyte | Sc (361.383)
Na (330.298 nm) | Analyte | Off-Peak Right | 2 | 1 | Na | 330.298 | Na | Analyte | In (325.609)
Na (330.298 nm) | Analyte | Off-Peak Left+Right | 2 | 2 | Na | 330.298 | Na | Analyte | In (325.609)
Na (589.592 nm) | Analyte | Off-Peak Left+Right | 2 | 2 | Na | 589.592 | Na | Analyte | In (325.609)
Na (589.592 nm) | Analyte | Fitted | 2 | 1 | Na | 589.592 | Na | Analyte | In (325.609)
P (177.434 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | P | 177.434 | P | Analyte | Sb (206.834)
P (213.618 nm) | Analyte | Off-Peak Right | 2 | 1 | P | 213.618 | P | Analyte | Sb (206.834)
S (178.165 nm) | Analyte | Off-Peak Right | 2 | 1 | S | 178.165 | S | Analyte | In (325.609)
S (178.165 nm) | Analyte | Off-Peak Right | 2 | 1 | S | 178.165 | S | Analyte | Sb (206.834)
S (182.562 nm) | Analyte | Off-Peak Left | 2 | 1 | S | 182.562 | S | Analyte | In (325.609)
S (182.562 nm) | Analyte | Off-Peak Left | 2 | 1 | S | 182.562 | S | Analyte | Sb (206.834)
Sb (206.834 nm) | Internal Standard | Off-Peak Left+Right | 2 | 1 | Sb | 206.834 | Sb | Internal Standard | None
Sc (361.383 nm) | Internal Standard | Off-Peak Left+Right | 2 | 1 | Sc | 361.383 | Sc | Internal Standard | None
Sc (424.682 nm) | Internal Standard | Off-Peak Left+Right | 2 | 2 | Sc | 424.682 | Sc | Internal Standard | None
Si (221.667 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Si | 221.667 | Si | Analyte | Sb (206.834)
Si (251.611 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Si | 251.611 | Si | Analyte | In (325.609)
Si (288.158 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Si | 288.158 | Si | Analyte | In (325.609)
Sr (407.771 nm) | Analyte | Off-Peak Left+Right | 2 | 2 | Sr | 407.771 | Sr | Analyte | In (230.606)
Sr (407.771 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Sr | 407.771 | Sr | Analyte | In (230.606)
Sr (421.552 nm) | Analyte | Off-Peak Left+Right | 2 | 2 | Sr | 421.552 | Sr | Analyte | Sc (361.383)
Sr (421.552 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Sr | 421.552 | Sr | Analyte | Sc (361.383)
Sr (460.733 nm) | Analyte | Off-Peak Left+Right | 2 | 1 | Sr | 460.733 | Sr | Analyte | In (325.609)
Sr (460.733 nm) | Analyte | Off-Peak Left+Right | 2 | 2 | Sr | 460.733 | Sr | Analyte | In (325.609)